## ADC Theory
The Analog-to-Digital Converter (ADC)
(Section 7.5)
An ADC converts an analog voltage into a binary number through a process call quantization.
The analog input is specified in terms of a full-scale input voltage range, ADCFSR. The ADC in the lab has a full scale input range of 10 volts. By default it is set in BI-POLAR mode, meaning that it will sense both negative and positive voltages. The input range therefore is from -5 volts to + 5 volts.
The digital side is specified in terms of the number of bits of resolution. The ADC in the lab contains a 12 bit converter.
An M-bit ADC will output an M-bit binary number. It can represent 2M different binary numbers.
Resolution:
Q = EFSR/2M
EFSR = ADCFSR / Gain
For the ADC in the lab the equation would be
Q = 10/Gain/212
For a Gain 1 the resolution would be 10/4096 = 2.4 mV. The smallest signal change that could be detected would therefore be 2.4 mV.

## Quantization
ADC Word Size |  | 12 | Bits | 4096 | Possible Values
ADC Range |  | 20 | Volts
Range Type |  | Bi-Polar |  | TRUE | Uni-Polar | Bi-Polar
ADC Gain |  | 200
ADC Resolution |  | 2.442e-05 | Volts
ADC Sampling Rate |  | 50 | Hz
ADC Minimum |  | -0.050012 | Volts
ADC Maximum |  | 0.049988 | Volts
Sine Amplitude |  | 0.0001 | Volts
Sine Frequency |  | 0.95 | Hz
Sine Offset |  | 0.00013 | Volts
Sine Phase Angle |  | 1.5708 | Radians
Time (seconds) | Sine Function | ADC Value | Digitized Sine | Error
0 | 0.00023 | 9 | 0.00021978 | 10.22%
0.02 | 0.00022929 | 9 | 0.00021978 | 9.508%
0.04 | 0.00022716 | 9 | 0.00021978 | 7.383%
0.06 | 0.00022365 | 9 | 0.00021978 | 3.875%
0.08 | 0.00021881 | 9 | 0.00021978 | -0.9666%
0.1 | 0.00021271 | 9 | 0.00021978 | -7.072%
0.12 | 0.00020543 | 8 | 0.00019536 | 10.06%
0.14 | 0.00019707 | 8 | 0.00019536 | 1.708%
0.16 | 0.00018776 | 8 | 0.00019536 | -7.603%
0.18 | 0.00017762 | 7 | 0.00017094 | 6.684%
0.2 | 0.00016681 | 7 | 0.00017094 | -4.128%
0.22 | 0.00015548 | 6 | 0.00014652 | 8.957%
0.24 | 0.00014378 | 6 | 0.00014652 | -2.741%
0.26 | 0.00013188 | 5 | 0.0001221 | 9.785%
0.28 | 0.00011996 | 5 | 0.0001221 | -2.136%
0.3 | 0.00010819 | 4 | 9.768e-05 | 10.51%
0.32 | 9.6718e-05 | 4 | 9.768e-05 | -0.9621%
0.34 | 8.5724e-05 | 4 | 9.768e-05 | -11.96%
0.36 | 7.5361e-05 | 3 | 7.326e-05 | 2.1%
0.38 | 6.5775e-05 | 3 | 7.326e-05 | -7.485%
0.4 | 5.7103e-05 | 2 | 4.884e-05 | 8.263%
0.42 | 4.9469e-05 | 2 | 4.884e-05 | 0.6292%
0.44 | 4.2982e-05 | 2 | 4.884e-05 | -5.858%
0.46 | 3.7733e-05 | 2 | 4.884e-05 | -11.11%
0.48 | 3.3797e-05 | 1 | 2.442e-05 | 9.377%
0.5 | 3.1231e-05 | 1 | 2.442e-05 | 6.811%
0.52 | 3.0071e-05 | 1 | 2.442e-05 | 5.651%
0.54 | 3.0333e-05 | 1 | 2.442e-05 | 5.913%
0.56 | 3.2014e-05 | 1 | 2.442e-05 | 7.594%
0.58 | 3.509e-05 | 1 | 2.442e-05 | 10.67%
0.6 | 3.9517e-05 | 2 | 4.884e-05 | -9.323%
0.62 | 4.5232e-05 | 2 | 4.884e-05 | -3.608%
0.64 | 5.2154e-05 | 2 | 4.884e-05 | 3.314%
0.66 | 6.0183e-05 | 2 | 4.884e-05 | 11.34%
0.68 | 6.9207e-05 | 3 | 7.326e-05 | -4.053%
0.7 | 7.9096e-05 | 3 | 7.326e-05 | 5.836%
0.72 | 8.9709e-05 | 4 | 9.768e-05 | -7.971%
0.74 | 0.0001009 | 4 | 9.768e-05 | 3.216%
0.76 | 0.0001125 | 5 | 0.0001221 | -9.602%
0.78 | 0.00012435 | 5 | 0.0001221 | 2.248%
0.8 | 0.00013628 | 6 | 0.00014652 | -10.24%
0.82 | 0.00014812 | 6 | 0.00014652 | 1.6%
0.84 | 0.0001597 | 7 | 0.00017094 | -11.24%
0.86 | 0.00017086 | 7 | 0.00017094 | -0.07526%
0.88 | 0.00018144 | 7 | 0.00017094 | 10.5%
0.9 | 0.00019129 | 8 | 0.00019536 | -4.069%
0.92 | 0.00020026 | 8 | 0.00019536 | 4.905%
0.94 | 0.00020824 | 9 | 0.00021978 | -11.54%
0.96 | 0.0002151 | 9 | 0.00021978 | -4.681%
0.98 | 0.00022075 | 9 | 0.00021978 | 0.9682%
1 | 0.00022511 | 9 | 0.00021978 | 5.325%

## Measurement
Measurements of physical variables
A. selecting a measurement system
B. evaluating the output from a measurement system
Static measurements - easy
Dynamic Measurements - (time varying) difficult, more information on the measured variable is needed.
Signal: information about a physical variable which is a function of time and interacts with the measurement system.
Physical Variables: are usually a continuous function of time.
Analog Signal: y = f(t), a continuous function of time representing a physical variable.
Digital Signals:
A. Exist at discrete values in time
B. The magnitude is discrete but is determined by a quantization process
Quantization: the process of assigning a single number to a range of magnitudes of a continuous signal. Converts independent variables from continuous to discrete.
A digital signal is produced by sampling an analog signal with an Analog to Digital Converter (ADC)

## Discrete Signals (1)
Discrete Time Signals: Information about the signal magnitude is available only at discrete points in time
| r | Discrete data
| 0 | 0
| 1 | 5.8779
| 2 | 9.5106
| 3 | 9.5106
| 4 | 5.8779
| 5 | 1.2251e-15
| 6 | -5.8779
| 7 | -9.5106
| 8 | -9.5106
| 9 | -5.8779
| 10 | -2.4503e-15
Sampling: The process of obtaining discretized information from a continuous variable at finite time intervals.

## Aliasing
ADC Word Size |  | 12 | Bits | 4096 | Possible Values
ADC Range |  | 20 | Volts
Range Type |  | Bi-Polar |  | TRUE | Uni-Polar | Bi-Polar
ADC Gain |  | 1
ADC Resolution |  | 0.004884 | Volts
ADC Sampling Rate |  | 95 | Hz
ADC Minimum |  | -10.0024 | Volts
ADC Maximum |  | 9.9976 | Volts
Sine Amplitude |  | 3 | Volts
Sine Frequency |  | 100 | Hz
Sine Offset |  | 0 | Volts
Sine Phase Angle |  | 0 | Radians
Time (seconds) | Sine Function | ADC Value | Digitized Sine | Error
0 | 0 | 0 | 0 | 0%
0.010526 | 0.9741 | 199 | 0.97192 | 0.07271%
0.021053 | 1.8426 | 377 | 1.8413 | 0.04561%
0.031579 | 2.5115 | 514 | 2.5104 | 0.03736%
0.042105 | 2.9082 | 595 | 2.906 | 0.07393%
0.052632 | 2.9898 | 612 | 2.989 | 0.02475%
0.063158 | 2.7473 | 563 | 2.7497 | -0.07916%
0.073684 | 2.2072 | 452 | 2.2076 | -0.01328%
0.084211 | 1.4278 | 292 | 1.4261 | 0.05709%
0.094737 | 0.49378 | 101 | 0.49328 | 0.01664%
0.10526 | -0.49378 | -101 | -0.49328 | -0.01664%
0.11579 | -1.4278 | -292 | -1.4261 | -0.05709%
0.12632 | -2.2072 | -452 | -2.2076 | 0.01328%
0.13684 | -2.7473 | -563 | -2.7497 | 0.07916%
0.14737 | -2.9898 | -612 | -2.989 | -0.02475%
0.15789 | -2.9082 | -595 | -2.906 | -0.07393%
0.16842 | -2.5115 | -514 | -2.5104 | -0.03736%
0.17895 | -1.8426 | -377 | -1.8413 | -0.04561%
0.18947 | -0.9741 | -199 | -0.97192 | -0.07271%
0.2 | 1.132e-13 | 0 | 0 | 3.773e-12%
0.21053 | 0.9741 | 199 | 0.97192 | 0.07271%
0.22105 | 1.8426 | 377 | 1.8413 | 0.04561%
0.23158 | 2.5115 | 514 | 2.5104 | 0.03736%
0.24211 | 2.9082 | 595 | 2.906 | 0.07393%
0.25263 | 2.9898 | 612 | 2.989 | 0.02475%
0.26316 | 2.7473 | 563 | 2.7497 | -0.07916%
0.27368 | 2.2072 | 452 | 2.2076 | -0.01328%
0.28421 | 1.4278 | 292 | 1.4261 | 0.05709%
0.29474 | 0.49378 | 101 | 0.49328 | 0.01664%
0.30526 | -0.49378 | -101 | -0.49328 | -0.01664%
0.31579 | -1.4278 | -292 | -1.4261 | -0.05709%
0.32632 | -2.2072 | -452 | -2.2076 | 0.01328%
0.33684 | -2.7473 | -563 | -2.7497 | 0.07916%
0.34737 | -2.9898 | -612 | -2.989 | -0.02475%
0.35789 | -2.9082 | -595 | -2.906 | -0.07393%
0.36842 | -2.5115 | -514 | -2.5104 | -0.03736%
0.37895 | -1.8426 | -377 | -1.8413 | -0.04561%
0.38947 | -0.9741 | -199 | -0.97192 | -0.07271%
0.4 | -5.4099e-13 | 0 | 0 | -1.803e-11%
0.41053 | 0.9741 | 199 | 0.97192 | 0.07271%
0.42105 | 1.8426 | 377 | 1.8413 | 0.04561%
0.43158 | 2.5115 | 514 | 2.5104 | 0.03736%
0.44211 | 2.9082 | 595 | 2.906 | 0.07393%
0.45263 | 2.9898 | 612 | 2.989 | 0.02475%
0.46316 | 2.7473 | 563 | 2.7497 | -0.07916%
0.47368 | 2.2072 | 452 | 2.2076 | -0.01328%
0.48421 | 1.4278 | 292 | 1.4261 | 0.05709%
0.49474 | 0.49378 | 101 | 0.49328 | 0.01664%
0.50526 | -0.49378 | -101 | -0.49328 | -0.01664%
0.51579 | -1.4278 | -292 | -1.4261 | -0.05709%
0.52632 | -2.2072 | -452 | -2.2076 | 0.01328%
0.53684 | -2.7473 | -563 | -2.7497 | 0.07916%
0.54737 | -2.9898 | -612 | -2.989 | -0.02475%
0.55789 | -2.9082 | -595 | -2.906 | -0.07393%
0.56842 | -2.5115 | -514 | -2.5104 | -0.03736%
0.57895 | -1.8426 | -377 | -1.8413 | -0.04561%
0.58947 | -0.9741 | -199 | -0.97192 | -0.07271%
0.6 | -2.999e-13 | 0 | 0 | -9.997e-12%
0.61053 | 0.9741 | 199 | 0.97192 | 0.07271%
0.62105 | 1.8426 | 377 | 1.8413 | 0.04561%
0.63158 | 2.5115 | 514 | 2.5104 | 0.03736%
0.64211 | 2.9082 | 595 | 2.906 | 0.07393%
0.65263 | 2.9898 | 612 | 2.989 | 0.02475%
0.66316 | 2.7473 | 563 | 2.7497 | -0.07916%
0.67368 | 2.2072 | 452 | 2.2076 | -0.01328%
0.68421 | 1.4278 | 292 | 1.4261 | 0.05709%
0.69474 | 0.49378 | 101 | 0.49328 | 0.01664%
0.70526 | -0.49378 | -101 | -0.49328 | -0.01664%
0.71579 | -1.4278 | -292 | -1.4261 | -0.05709%
0.72632 | -2.2072 | -452 | -2.2076 | 0.01328%
0.73684 | -2.7473 | -563 | -2.7497 | 0.07916%
0.74737 | -2.9898 | -612 | -2.989 | -0.02475%
0.75789 | -2.9082 | -595 | -2.906 | -0.07393%
0.76842 | -2.5115 | -514 | -2.5104 | -0.03736%
0.77895 | -1.8426 | -377 | -1.8413 | -0.04561%
0.78947 | -0.9741 | -199 | -0.97192 | -0.07271%
0.8 | 7.9384e-13 | 0 | 0 | 2.646e-11%
0.81053 | 0.9741 | 199 | 0.97192 | 0.07271%
0.82105 | 1.8426 | 377 | 1.8413 | 0.04561%
0.83158 | 2.5115 | 514 | 2.5104 | 0.03736%
0.84211 | 2.9082 | 595 | 2.906 | 0.07393%
0.85263 | 2.9898 | 612 | 2.989 | 0.02475%
0.86316 | 2.7473 | 563 | 2.7497 | -0.07916%
0.87368 | 2.2072 | 452 | 2.2076 | -0.01328%
0.88421 | 1.4278 | 292 | 1.4261 | 0.05709%
0.89474 | 0.49378 | 101 | 0.49328 | 0.01664%
0.90526 | -0.49378 | -101 | -0.49328 | -0.01664%
0.91579 | -1.4278 | -292 | -1.4261 | -0.05709%
0.92632 | -2.2072 | -452 | -2.2076 | 0.01328%
0.93684 | -2.7473 | -563 | -2.7497 | 0.07916%
0.94737 | -2.9898 | -612 | -2.989 | -0.02475%
0.95789 | -2.9082 | -595 | -2.906 | -0.07393%
0.96842 | -2.5115 | -514 | -2.5104 | -0.03736%
0.97895 | -1.8426 | -377 | -1.8413 | -0.04561%
0.98947 | -0.9741 | -199 | -0.97192 | -0.07271%
1 | 2.0581e-12 | 0 | 0 | 6.86e-11%
1.0105 | 0.9741 | 199 | 0.97192 | 0.07271%
1.0211 | 1.8426 | 377 | 1.8413 | 0.04561%
1.0316 | 2.5115 | 514 | 2.5104 | 0.03736%
1.0421 | 2.9082 | 595 | 2.906 | 0.07393%
1.0526 | 2.9898 | 612 | 2.989 | 0.02475%

## Signals (1)
Sine Sampling Rate |  | 5000 | Hz
Sine Amplitude |  | 3 | Volts
Sine Frequency |  | 100 | Hz | Bi-Polar
Sine Offset |  | 0 | Volts
Sine Phase Angle |  | 0 | Radians
Time (seconds) | Sine Function
0 | 0 | 0.63026 | 0.15757
0.0002 | 0.376 | -0.79853 | 0.17637
0.0004 | 0.74607 | -0.22067 | 0.6909
0.0006 | 1.1044 | 0.48441 | 1.2255
0.0008 | 1.4453 | 0.50314 | 1.571
0.001 | 1.7634 | -0.75313 | 1.5751
0.0012 | 2.0536 | -0.13945 | 2.0188
0.0014 | 2.3115 | -0.75403 | 2.123
0.0016 | 2.533 | -0.72482 | 2.3518
0.0018 | 2.7145 | -0.68387 | 2.5435
0.002 | 2.8532 | -0.4749 | 2.7344
0.0022 | 2.9469 | 0.88037 | 3.167
0.0024 | 2.9941 | 0.46029 | 3.1092
0.0026 | 2.9941 | 0.65058 | 3.1567
0.0028 | 2.9469 | -0.538 | 2.8124
0.003 | 2.8532 | 0.72612 | 3.0347
0.0032 | 2.7145 | -0.035135 | 2.7057
0.0034 | 2.533 | -0.29765 | 2.4586
0.0036 | 2.3115 | 0.84433 | 2.5226
0.0038 | 2.0536 | -0.27919 | 1.9838
0.004 | 1.7634 | 0.55888 | 1.9031
0.0042 | 1.4453 | 0.51679 | 1.5745
0.0044 | 1.1044 | -0.86144 | 0.88901
0.0046 | 0.74607 | 0.04066 | 0.75623
0.0048 | 0.376 | -0.86803 | 0.15899
0.005 | 1.6998e-15 | -0.03125 | -0.0078126
0.0052 | -0.376 | 0.71563 | -0.19709
0.0054 | -0.74607 | 0.82184 | -0.54061
0.0056 | -1.1044 | 0.07597 | -1.0854
0.0058 | -1.4453 | 0.98513 | -1.199
0.006 | -1.7634 | 0.70171 | -1.5879
0.0062 | -2.0536 | -0.033654 | -2.0621
0.0064 | -2.3115 | 0.52552 | -2.1802
0.0066 | -2.533 | 0.62566 | -2.3766
0.0068 | -2.7145 | -0.21967 | -2.7694
0.007 | -2.8532 | -0.96025 | -3.0932
0.0072 | -2.9469 | 0.89334 | -2.7235
0.0074 | -2.9941 | -0.042606 | -3.0047
0.0076 | -2.9941 | 0.77438 | -2.8005
0.0078 | -2.9469 | -0.96652 | -3.1885
0.008 | -2.8532 | 0.09395 | -2.8297
0.0082 | -2.7145 | -0.1093 | -2.7418
0.0084 | -2.533 | 0.6831 | -2.3622
0.0086 | -2.3115 | 0.11077 | -2.2838
0.0088 | -2.0536 | -0.68724 | -2.2255
0.009 | -1.7634 | -0.68189 | -1.9338
0.0092 | -1.4453 | -0.44404 | -1.5563
0.0094 | -1.1044 | -0.18393 | -1.1504
0.0096 | -0.74607 | 0.16227 | -0.7055
0.0098 | -0.376 | -0.7813 | -0.57132
0.01 | 1.9294e-15 | -0.060946 | -0.015237
0.0102 | 0.376 | -0.22322 | 0.32019
0.0104 | 0.74607 | -0.27234 | 0.67798
0.0106 | 1.1044 | 0.56421 | 1.2454
0.0108 | 1.4453 | -0.55887 | 1.3055
0.011 | 1.7634 | -0.007277 | 1.7615
0.0112 | 2.0536 | -0.25975 | 1.9887
0.0114 | 2.3115 | -0.65243 | 2.1484
0.0116 | 2.533 | 0.34885 | 2.6202
0.0118 | 2.7145 | -0.42212 | 2.609
0.012 | 2.8532 | 0.49251 | 2.9763
0.0122 | 2.9469 | 0.037074 | 2.9561
0.0124 | 2.9941 | 0.0044641 | 2.9952
0.0126 | 2.9941 | 0.52797 | 3.1261
0.0128 | 2.9469 | 0.64001 | 3.1069
0.013 | 2.8532 | 0.4571 | 2.9674
0.0132 | 2.7145 | 0.51188 | 2.8425
0.0134 | 2.533 | -0.56373 | 2.3921
0.0136 | 2.3115 | 0.20785 | 2.3635
0.0138 | 2.0536 | -0.35269 | 1.9655
0.014 | 1.7634 | -0.709 | 1.5861
0.0142 | 1.4453 | -0.94328 | 1.2094
0.0144 | 1.1044 | -0.14148 | 1.069
0.0146 | 0.74607 | -0.83818 | 0.53653
0.0148 | 0.376 | 0.26102 | 0.44125
0.015 | -2.0214e-14 | 0.78575 | 0.19644
0.0152 | -0.376 | 0.0070656 | -0.37423
0.0154 | -0.74607 | 0.2373 | -0.68675
0.0156 | -1.1044 | -0.13682 | -1.1386
0.0158 | -1.4453 | 0.32359 | -1.3644
0.016 | -1.7634 | 0.55766 | -1.6239
0.0162 | -2.0536 | 0.76526 | -1.8623
0.0164 | -2.3115 | -0.338 | -2.396
0.0166 | -2.533 | 0.84617 | -2.3214
0.0168 | -2.7145 | 0.28277 | -2.6438
0.017 | -2.8532 | 0.57111 | -2.7104
0.0172 | -2.9469 | 0.1108 | -2.9192
0.0174 | -2.9941 | -0.98743 | -3.2409
0.0176 | -2.9941 | 0.96242 | -2.7535
0.0178 | -2.9469 | 0.86459 | -2.7307
0.018 | -2.8532 | 0.41061 | -2.7505
0.0182 | -2.7145 | 0.987 | -2.4677
0.0184 | -2.533 | 0.94739 | -2.2961
0.0186 | -2.3115 | -0.91642 | -2.5406
0.0188 | -2.0536 | -0.66331 | -2.2195
0.019 | -1.7634 | 0.85379 | -1.5499
0.0192 | -1.4453 | -0.88144 | -1.6656
0.0194 | -1.1044 | 0.20494 | -1.0531
0.0196 | -0.74607 | -0.44903 | -0.85833
0.0198 | -0.376 | 0.69193 | -0.20302
0.02 | -2.2786e-14 | 0.78249 | 0.19562
0.0202 | 0.376
0.0204 | 0.74607
0.0206 | 1.1044
0.0208 | 1.4453
0.021 | 1.7634
0.0212 | 2.0536
0.0214 | 2.3115
0.0216 | 2.533
0.0218 | 2.7145
0.022 | 2.8532
0.0222 | 2.9469
0.0224 | 2.9941
0.0226 | 2.9941
0.0228 | 2.9469
0.023 | 2.8532
0.0232 | 2.7145
0.0234 | 2.533
0.0236 | 2.3115
0.0238 | 2.0536
0.024 | 1.7634
0.0242 | 1.4453
0.0244 | 1.1044
0.0246 | 0.74607
0.0248 | 0.376
0.025 | 7.6445e-14
0.0252 | -0.376
0.0254 | -0.74607
0.0256 | -1.1044
0.0258 | -1.4453
0.026 | -1.7634
0.0262 | -2.0536
0.0264 | -2.3115
0.0266 | -2.533
0.0268 | -2.7145
0.027 | -2.8532
0.0272 | -2.9469
0.0274 | -2.9941
0.0276 | -2.9941
0.0278 | -2.9469
0.028 | -2.8532
0.0282 | -2.7145
0.0284 | -2.533
0.0286 | -2.3115
0.0288 | -2.0536
0.029 | -1.7634
0.0292 | -1.4453
0.0294 | -1.1044
0.0296 | -0.74607
0.0298 | -0.376
0.03 | -1.4076e-13
0.0302 | 0.376
0.0304 | 0.74607
0.0306 | 1.1044
0.0308 | 1.4453
0.031 | 1.7634
0.0312 | 2.0536
0.0314 | 2.3115
0.0316 | 2.533
0.0318 | 2.7145
0.032 | 2.8532
0.0322 | 2.9469
0.0324 | 2.9941
0.0326 | 2.9941
0.0328 | 2.9469
0.033 | 2.8532
0.0332 | 2.7145
0.0334 | 2.533
0.0336 | 2.3115
0.0338 | 2.0536
0.034 | 1.7634
0.0342 | 1.4453
0.0344 | 1.1044
0.0346 | 0.74607
0.0348 | 0.376
0.035 | 1.9442e-13
0.0352 | -0.376
0.0354 | -0.74607
0.0356 | -1.1044
0.0358 | -1.4453
0.036 | -1.7634
0.0362 | -2.0536
0.0364 | -2.3115
0.0366 | -2.533
0.0368 | -2.7145
0.037 | -2.8532
0.0372 | -2.9469
0.0374 | -2.9941
0.0376 | -2.9941
0.0378 | -2.9469
0.038 | -2.8532
0.0382 | -2.7145
0.0384 | -2.533
0.0386 | -2.3115
0.0388 | -2.0536
0.039 | -1.7634
0.0392 | -1.4453
0.0394 | -1.1044
0.0396 | -0.74607
0.0398 | -0.376
0.04 | -2.4808e-13
0.0402 | 0.376
0.0404 | 0.74607
0.0406 | 1.1044
0.0408 | 1.4453
0.041 | 1.7634
0.0412 | 2.0536
0.0414 | 2.3115
0.0416 | 2.533
0.0418 | 2.7145
0.042 | 2.8532
0.0422 | 2.9469
0.0424 | 2.9941
0.0426 | 2.9941
0.0428 | 2.9469
0.043 | 2.8532
0.0432 | 2.7145
0.0434 | 2.533
0.0436 | 2.3115
0.0438 | 2.0536
0.044 | 1.7634
0.0442 | 1.4453
0.0444 | 1.1044
0.0446 | 0.74607
0.0448 | 0.376
0.045 | 3.0174e-13
0.0452 | -0.376
0.0454 | -0.74607
0.0456 | -1.1044
0.0458 | -1.4453
0.046 | -1.7634
0.0462 | -2.0536
0.0464 | -2.3115
0.0466 | -2.533
0.0468 | -2.7145
0.047 | -2.8532
0.0472 | -2.9469
0.0474 | -2.9941
0.0476 | -2.9941
0.0478 | -2.9469
0.048 | -2.8532
0.0482 | -2.7145
0.0484 | -2.533
0.0486 | -2.3115
0.0488 | -2.0536
0.049 | -1.7634
0.0492 | -1.4453
0.0494 | -1.1044
0.0496 | -0.74607
0.0498 | -0.376
0.05 | -3.6605e-13
0.0502 | 0.376
0.0504 | 0.74607
0.0506 | 1.1044
0.0508 | 1.4453
0.051 | 1.7634
0.0512 | 2.0536
0.0514 | 2.3115
0.0516 | 2.533
0.0518 | 2.7145
0.052 | 2.8532
0.0522 | 2.9469
0.0524 | 2.9941
0.0526 | 2.9941
0.0528 | 2.9469
0.053 | 2.8532
0.0532 | 2.7145
0.0534 | 2.533
0.0536 | 2.3115
0.0538 | 2.0536
0.054 | 1.7634
0.0542 | 1.4453
0.0544 | 1.1044
0.0546 | 0.74607
0.0548 | 0.376
0.055 | 4.1971e-13
0.0552 | -0.376
0.0554 | -0.74607
0.0556 | -1.1044
0.0558 | -1.4453
0.056 | -1.7634
0.0562 | -2.0536
0.0564 | -2.3115
0.0566 | -2.533
0.0568 | -2.7145
0.057 | -2.8532
0.0572 | -2.9469
0.0574 | -2.9941
0.0576 | -2.9941
0.0578 | -2.9469
0.058 | -2.8532
0.0582 | -2.7145
0.0584 | -2.533
0.0586 | -2.3115
0.0588 | -2.0536
0.059 | -1.7634
0.0592 | -1.4453
0.0594 | -1.1044
0.0596 | -0.74607
0.0598 | -0.376
0.06 | -4.7337e-13
0.0602 | 0.376
0.0604 | 0.74607
0.0606 | 1.1044
0.0608 | 1.4453
0.061 | 1.7634
0.0612 | 2.0536
0.0614 | 2.3115
0.0616 | 2.533
0.0618 | 2.7145
0.062 | 2.8532
0.0622 | 2.9469
0.0624 | 2.9941
0.0626 | 2.9941
0.0628 | 2.9469
0.063 | 2.8532
0.0632 | 2.7145
0.0634 | 2.533
0.0636 | 2.3115
0.0638 | 2.0536
0.064 | 1.7634
0.0642 | 1.4453
0.0644 | 1.1044
0.0646 | 0.74607
0.0648 | 0.376
0.065 | 3.565e-13
0.0652 | -0.376
0.0654 | -0.74607
0.0656 | -1.1044
0.0658 | -1.4453
0.066 | -1.7634
0.0662 | -2.0536
0.0664 | -2.3115
0.0666 | -2.533
0.0668 | -2.7145
0.067 | -2.8532
0.0672 | -2.9469
0.0674 | -2.9941
0.0676 | -2.9941
0.0678 | -2.9469
0.068 | -2.8532
0.0682 | -2.7145
0.0684 | -2.533
0.0686 | -2.3115
0.0688 | -2.0536
0.069 | -1.7634
0.0692 | -1.4453
0.0694 | -1.1044
0.0696 | -0.74607
0.0698 | -0.376
0.07 | -1.1173e-13
0.0702 | 0.376
0.0704 | 0.74607
0.0706 | 1.1044
0.0708 | 1.4453
0.071 | 1.7634
0.0712 | 2.0536
0.0714 | 2.3115
0.0716 | 2.533
0.0718 | 2.7145
0.072 | 2.8532
0.0722 | 2.9469
0.0724 | 2.9941
0.0726 | 2.9941
0.0728 | 2.9469
0.073 | 2.8532
0.0732 | 2.7145
0.0734 | 2.533
0.0736 | 2.3115
0.0738 | 2.0536
0.074 | 1.7634
0.0742 | 1.4453
0.0744 | 1.1044
0.0746 | 0.74607
0.0748 | 0.376
0.075 | -1.7568e-13
0.0752 | -0.376
0.0754 | -0.74607
0.0756 | -1.1044
0.0758 | -1.4453
0.076 | -1.7634
0.0762 | -2.0536
0.0764 | -2.3115
0.0766 | -2.533
0.0768 | -2.7145
0.077 | -2.8532
0.0772 | -2.9469
0.0774 | -2.9941
0.0776 | -2.9941
0.0778 | -2.9469
0.078 | -2.8532
0.0782 | -2.7145
0.0784 | -2.533
0.0786 | -2.3115
0.0788 | -2.0536
0.079 | -1.7634
0.0792 | -1.4453
0.0794 | -1.1044
0.0796 | -0.74607
0.0798 | -0.376
0.08 | 4.4176e-13
0.0802 | 0.376
0.0804 | 0.74607
0.0806 | 1.1044
0.0808 | 1.4453
0.081 | 1.7634
0.0812 | 2.0536
0.0814 | 2.3115
0.0816 | 2.533
0.0818 | 2.7145
0.082 | 2.8532
0.0822 | 2.9469
0.0824 | 2.9941
0.0826 | 2.9941
0.0828 | 2.9469
0.083 | 2.8532
0.0832 | 2.7145
0.0834 | 2.533
0.0836 | 2.3115
0.0838 | 2.0536
0.084 | 1.7634
0.0842 | 1.4453
0.0844 | 1.1044
0.0846 | 0.74607
0.0848 | 0.376
0.085 | -7.2916e-13
0.0852 | -0.376
0.0854 | -0.74607
0.0856 | -1.1044
0.0858 | -1.4453
0.086 | -1.7634
0.0862 | -2.0536
0.0864 | -2.3115
0.0866 | -2.533
0.0868 | -2.7145
0.087 | -2.8532
0.0872 | -2.9469
0.0874 | -2.9941
0.0876 | -2.9941
0.0878 | -2.9469
0.088 | -2.8532
0.0882 | -2.7145
0.0884 | -2.533
0.0886 | -2.3115
0.0888 | -2.0536
0.089 | -1.7634
0.0892 | -1.4453
0.0894 | -1.1044
0.0896 | -0.74607
0.0898 | -0.376
0.09 | 9.7393e-13
0.0902 | 0.376
0.0904 | 0.74607
0.0906 | 1.1044
0.0908 | 1.4453
0.091 | 1.7634
0.0912 | 2.0536
0.0914 | 2.3115
0.0916 | 2.533
0.0918 | 2.7145
0.092 | 2.8532
0.0922 | 2.9469
0.0924 | 2.9941
0.0926 | 2.9941
0.0928 | 2.9469
0.093 | 2.8532
0.0932 | 2.7145
0.0934 | 2.533
0.0936 | 2.3115
0.0938 | 2.0536
0.094 | 1.7634
0.0942 | 1.4453
0.0944 | 1.1044
0.0946 | 0.74607
0.0948 | 0.376
0.095 | -1.24e-12
0.0952 | -0.376
0.0954 | -0.74607
0.0956 | -1.1044
0.0958 | -1.4453
0.096 | -1.7634
0.0962 | -2.0536
0.0964 | -2.3115
0.0966 | -2.533
0.0968 | -2.7145
0.097 | -2.8532
0.0972 | -2.9469
0.0974 | -2.9941
0.0976 | -2.9941
0.0978 | -2.9469
0.098 | -2.8532
0.0982 | -2.7145
0.0984 | -2.533
0.0986 | -2.3115
0.0988 | -2.0536
0.099 | -1.7634
0.0992 | -1.4453
0.0994 | -1.1044
0.0996 | -0.74607
0.0998 | -0.376
0.1 | 1.5274e-12
0.1002 | 0.376
0.1004 | 0.74607
0.1006 | 1.1044
0.1008 | 1.4453
0.101 | 1.7634
0.1012 | 2.0536
0.1014 | 2.3115
0.1016 | 2.533
0.1018 | 2.7145
0.102 | 2.8532
0.1022 | 2.9469
0.1024 | 2.9941
0.1026 | 2.9941
0.1028 | 2.9469
0.103 | 2.8532
0.1032 | 2.7145
0.1034 | 2.533
0.1036 | 2.3115
0.1038 | 2.0536
0.104 | 1.7634
0.1042 | 1.4453
0.1044 | 1.1044
0.1046 | 0.74607
0.1048 | 0.376
0.105 | -1.7935e-12
0.1052 | -0.376
0.1054 | -0.74607
0.1056 | -1.1044
0.1058 | -1.4453
0.106 | -1.7634
0.1062 | -2.0536
0.1064 | -2.3115
0.1066 | -2.533
0.1068 | -2.7145
0.107 | -2.8532
0.1072 | -2.9469
0.1074 | -2.9941
0.1076 | -2.9941
0.1078 | -2.9469
0.108 | -2.8532
0.1082 | -2.7145
0.1084 | -2.533
0.1086 | -2.3115
0.1088 | -2.0536
0.109 | -1.7634
0.1092 | -1.4453
0.1094 | -1.1044
0.1096 | -0.74607
0.1098 | -0.376
0.11 | 2.0596e-12
0.1102 | 0.376
0.1104 | 0.74607
0.1106 | 1.1044
0.1108 | 1.4453
0.111 | 1.7634
0.1112 | 2.0536
0.1114 | 2.3115
0.1116 | 2.533
0.1118 | 2.7145
0.112 | 2.8532
0.1122 | 2.9469
0.1124 | 2.9941
0.1126 | 2.9941
0.1128 | 2.9469
0.113 | 2.8532
0.1132 | 2.7145
0.1134 | 2.533
0.1136 | 2.3115
0.1138 | 2.0536
0.114 | 1.7634
0.1142 | 1.4453
0.1144 | 1.1044
0.1146 | 0.74607
0.1148 | 0.376
0.115 | -2.3257e-12
0.1152 | -0.376
0.1154 | -0.74607
0.1156 | -1.1044
0.1158 | -1.4453
0.116 | -1.7634
0.1162 | -2.0536
0.1164 | -2.3115
0.1166 | -2.533
0.1168 | -2.7145
0.117 | -2.8532
0.1172 | -2.9469
0.1174 | -2.9941
0.1176 | -2.9941
0.1178 | -2.9469
0.118 | -2.8532
0.1182 | -2.7145
0.1184 | -2.533
0.1186 | -2.3115
0.1188 | -2.0536
0.119 | -1.7634
0.1192 | -1.4453
0.1194 | -1.1044
0.1196 | -0.74607
0.1198 | -0.376
0.12 | 2.5918e-12
0.1202 | 0.376
0.1204 | 0.74607
0.1206 | 1.1044
0.1208 | 1.4453
0.121 | 1.7634
0.1212 | 2.0536
0.1214 | 2.3115
0.1216 | 2.533
0.1218 | 2.7145
0.122 | 2.8532
0.1222 | 2.9469
0.1224 | 2.9941
0.1226 | 2.9941
0.1228 | 2.9469
0.123 | 2.8532
0.1232 | 2.7145
0.1234 | 2.533
0.1236 | 2.3115
0.1238 | 2.0536
0.124 | 1.7634
0.1242 | 1.4453
0.1244 | 1.1044
0.1246 | 0.74607
0.1248 | 0.376
0.125 | -2.8579e-12
0.1252 | -0.376
0.1254 | -0.74607
0.1256 | -1.1044
0.1258 | -1.4453
0.126 | -1.7634
0.1262 | -2.0536
0.1264 | -2.3115
0.1266 | -2.533
0.1268 | -2.7145
0.127 | -2.8532
0.1272 | -2.9469
0.1274 | -2.9941
0.1276 | -2.9941
0.1278 | -2.9469
0.128 | -2.8532
0.1282 | -2.7145
0.1284 | -2.533
0.1286 | -2.3115
0.1288 | -2.0536
0.129 | -1.7634
0.1292 | -1.4453
0.1294 | -1.1044
0.1296 | -0.74607
0.1298 | -0.376
0.13 | 3.1239e-12
0.1302 | 0.376
0.1304 | 0.74607
0.1306 | 1.1044
0.1308 | 1.4453
0.131 | 1.7634
0.1312 | 2.0536
0.1314 | 2.3115
0.1316 | 2.533
0.1318 | 2.7145
0.132 | 2.8532
0.1322 | 2.9469
0.1324 | 2.9941
0.1326 | 2.9941
0.1328 | 2.9469
0.133 | 2.8532
0.1332 | 2.7145
0.1334 | 2.533
0.1336 | 2.3115
0.1338 | 2.0536
0.134 | 1.7634
0.1342 | 1.4453
0.1344 | 1.1044
0.1346 | 0.74607
0.1348 | 0.376
0.135 | -3.4327e-12
0.1352 | -0.376
0.1354 | -0.74607
0.1356 | -1.1044
0.1358 | -1.4453
0.136 | -1.7634
0.1362 | -2.0536
0.1364 | -2.3115
0.1366 | -2.533
0.1368 | -2.7145
0.137 | -2.8532
0.1372 | -2.9469
0.1374 | -2.9941
0.1376 | -2.9941
0.1378 | -2.9469
0.138 | -2.8532
0.1382 | -2.7145
0.1384 | -2.533
0.1386 | -2.3115
0.1388 | -2.0536
0.139 | -1.7634
0.1392 | -1.4453
0.1394 | -1.1044
0.1396 | -0.74607
0.1398 | -0.376
0.14 | 3.6987e-12
0.1402 | 0.376
0.1404 | 0.74607
0.1406 | 1.1044
0.1408 | 1.4453
0.141 | 1.7634
0.1412 | 2.0536
0.1414 | 2.3115
0.1416 | 2.533
0.1418 | 2.7145
0.142 | 2.8532
0.1422 | 2.9469
0.1424 | 2.9941
0.1426 | 2.9941
0.1428 | 2.9469
0.143 | 2.8532
0.1432 | 2.7145
0.1434 | 2.533
0.1436 | 2.3115
0.1438 | 2.0536
0.144 | 1.7634
0.1442 | 1.4453
0.1444 | 1.1044
0.1446 | 0.74607
0.1448 | 0.376
0.145 | -3.9222e-12
0.1452 | -0.376
0.1454 | -0.74607
0.1456 | -1.1044
0.1458 | -1.4453
0.146 | -1.7634
0.1462 | -2.0536
0.1464 | -2.3115
0.1466 | -2.533
0.1468 | -2.7145
0.147 | -2.8532
0.1472 | -2.9469
0.1474 | -2.9941
0.1476 | -2.9941
0.1478 | -2.9469
0.148 | -2.8532
0.1482 | -2.7145
0.1484 | -2.533
0.1486 | -2.3115
0.1488 | -2.0536
0.149 | -1.7634
0.1492 | -1.4453
0.1494 | -1.1044
0.1496 | -0.74607
0.1498 | -0.376
0.15 | 4.2309e-12
0.1502 | 0.376
0.1504 | 0.74607
0.1506 | 1.1044
0.1508 | 1.4453
0.151 | 1.7634
0.1512 | 2.0536
0.1514 | 2.3115
0.1516 | 2.533
0.1518 | 2.7145
0.152 | 2.8532
0.1522 | 2.9469
0.1524 | 2.9941
0.1526 | 2.9941
0.1528 | 2.9469
0.153 | 2.8532
0.1532 | 2.7145
0.1534 | 2.533
0.1536 | 2.3115
0.1538 | 2.0536
0.154 | 1.7634
0.1542 | 1.4453
0.1544 | 1.1044
0.1546 | 0.74607
0.1548 | 0.376
0.155 | -4.497e-12
0.1552 | -0.376
0.1554 | -0.74607
0.1556 | -1.1044
0.1558 | -1.4453
0.156 | -1.7634
0.1562 | -2.0536
0.1564 | -2.3115
0.1566 | -2.533
0.1568 | -2.7145
0.157 | -2.8532
0.1572 | -2.9469
0.1574 | -2.9941
0.1576 | -2.9941
0.1578 | -2.9469
0.158 | -2.8532
0.1582 | -2.7145
0.1584 | -2.533
0.1586 | -2.3115
0.1588 | -2.0536
0.159 | -1.7634
0.1592 | -1.4453
0.1594 | -1.1044
0.1596 | -0.74607
0.1598 | -0.376
0.16 | 4.7631e-12
0.1602 | 0.376
0.1604 | 0.74607
0.1606 | 1.1044
0.1608 | 1.4453
0.161 | 1.7634
0.1612 | 2.0536
0.1614 | 2.3115
0.1616 | 2.533
0.1618 | 2.7145
0.162 | 2.8532
0.1622 | 2.9469
0.1624 | 2.9941
0.1626 | 2.9941
0.1628 | 2.9469
0.163 | 2.8532
0.1632 | 2.7145
0.1634 | 2.533
0.1636 | 2.3115
0.1638 | 2.0536
0.164 | 1.7634
0.1642 | 1.4453
0.1644 | 1.1044
0.1646 | 0.74607
0.1648 | 0.376
0.165 | -5.0292e-12
0.1652 | -0.376
0.1654 | -0.74607
0.1656 | -1.1044
0.1658 | -1.4453
0.166 | -1.7634
0.1662 | -2.0536
0.1664 | -2.3115
0.1666 | -2.533
0.1668 | -2.7145
0.167 | -2.8532
0.1672 | -2.9469
0.1674 | -2.9941
0.1676 | -2.9941
0.1678 | -2.9469
0.168 | -2.8532
0.1682 | -2.7145
0.1684 | -2.533
0.1686 | -2.3115
0.1688 | -2.0536
0.169 | -1.7634
0.1692 | -1.4453
0.1694 | -1.1044
0.1696 | -0.74607
0.1698 | -0.376
0.17 | 5.2953e-12
0.1702 | 0.376
0.1704 | 0.74607
0.1706 | 1.1044
0.1708 | 1.4453
0.171 | 1.7634
0.1712 | 2.0536
0.1714 | 2.3115
0.1716 | 2.533
0.1718 | 2.7145
0.172 | 2.8532
0.1722 | 2.9469
0.1724 | 2.9941
0.1726 | 2.9941
0.1728 | 2.9469
0.173 | 2.8532
0.1732 | 2.7145
0.1734 | 2.533
0.1736 | 2.3115
0.1738 | 2.0536
0.174 | 1.7634
0.1742 | 1.4453
0.1744 | 1.1044
0.1746 | 0.74607
0.1748 | 0.376
0.175 | -5.604e-12
0.1752 | -0.376
0.1754 | -0.74607
0.1756 | -1.1044
0.1758 | -1.4453
0.176 | -1.7634
0.1762 | -2.0536
0.1764 | -2.3115
0.1766 | -2.533
0.1768 | -2.7145
0.177 | -2.8532
0.1772 | -2.9469
0.1774 | -2.9941
0.1776 | -2.9941
0.1778 | -2.9469
0.178 | -2.8532
0.1782 | -2.7145
0.1784 | -2.533
0.1786 | -2.3115
0.1788 | -2.0536
0.179 | -1.7634
0.1792 | -1.4453
0.1794 | -1.1044
0.1796 | -0.74607
0.1798 | -0.376
0.18 | 5.8701e-12
0.1802 | 0.376
0.1804 | 0.74607
0.1806 | 1.1044
0.1808 | 1.4453
0.181 | 1.7634
0.1812 | 2.0536
0.1814 | 2.3115
0.1816 | 2.533
0.1818 | 2.7145
0.182 | 2.8532
0.1822 | 2.9469
0.1824 | 2.9941
0.1826 | 2.9941
0.1828 | 2.9469
0.183 | 2.8532
0.1832 | 2.7145
0.1834 | 2.533
0.1836 | 2.3115
0.1838 | 2.0536
0.184 | 1.7634
0.1842 | 1.4453
0.1844 | 1.1044
0.1846 | 0.74607
0.1848 | 0.376
0.185 | -6.0935e-12
0.1852 | -0.376
0.1854 | -0.74607
0.1856 | -1.1044
0.1858 | -1.4453
0.186 | -1.7634
0.1862 | -2.0536
0.1864 | -2.3115
0.1866 | -2.533
0.1868 | -2.7145
0.187 | -2.8532
0.1872 | -2.9469
0.1874 | -2.9941
0.1876 | -2.9941
0.1878 | -2.9469
0.188 | -2.8532
0.1882 | -2.7145
0.1884 | -2.533
0.1886 | -2.3115
0.1888 | -2.0536
0.189 | -1.7634
0.1892 | -1.4453
0.1894 | -1.1044
0.1896 | -0.74607
0.1898 | -0.376
0.19 | 6.3596e-12
0.1902 | 0.376
0.1904 | 0.74607
0.1906 | 1.1044
0.1908 | 1.4453
0.191 | 1.7634
0.1912 | 2.0536
0.1914 | 2.3115
0.1916 | 2.533
0.1918 | 2.7145
0.192 | 2.8532
0.1922 | 2.9469
0.1924 | 2.9941
0.1926 | 2.9941
0.1928 | 2.9469
0.193 | 2.8532
0.1932 | 2.7145
0.1934 | 2.533
0.1936 | 2.3115
0.1938 | 2.0536
0.194 | 1.7634
0.1942 | 1.4453
0.1944 | 1.1044
0.1946 | 0.74607
0.1948 | 0.376
0.195 | -6.6257e-12
0.1952 | -0.376
0.1954 | -0.74607
0.1956 | -1.1044
0.1958 | -1.4453
0.196 | -1.7634
0.1962 | -2.0536
0.1964 | -2.3115
0.1966 | -2.533
0.1968 | -2.7145
0.197 | -2.8532
0.1972 | -2.9469
0.1974 | -2.9941
0.1976 | -2.9941
0.1978 | -2.9469
0.198 | -2.8532
0.1982 | -2.7145
0.1984 | -2.533
0.1986 | -2.3115
0.1988 | -2.0536
0.199 | -1.7634
0.1992 | -1.4453
0.1994 | -1.1044
0.1996 | -0.74607
0.1998 | -0.376
0.2 | 6.8918e-12
0.2002 | 0.376
0.2004 | 0.74607
0.2006 | 1.1044
0.2008 | 1.4453
0.201 | 1.7634
0.2012 | 2.0536
0.2014 | 2.3115
0.2016 | 2.533
0.2018 | 2.7145
0.202 | 2.8532
0.2022 | 2.9469
0.2024 | 2.9941
0.2026 | 2.9941
0.2028 | 2.9469
0.203 | 2.8532
0.2032 | 2.7145
0.2034 | 2.533
0.2036 | 2.3115
0.2038 | 2.0536
0.204 | 1.7634
0.2042 | 1.4453
0.2044 | 1.1044
0.2046 | 0.74607
0.2048 | 0.376
0.205 | -7.2005e-12
0.2052 | -0.376
0.2054 | -0.74607
0.2056 | -1.1044
0.2058 | -1.4453
0.206 | -1.7634
0.2062 | -2.0536
0.2064 | -2.3115
0.2066 | -2.533
0.2068 | -2.7145
0.207 | -2.8532
0.2072 | -2.9469
0.2074 | -2.9941
0.2076 | -2.9941
0.2078 | -2.9469
0.208 | -2.8532
0.2082 | -2.7145
0.2084 | -2.533
0.2086 | -2.3115
0.2088 | -2.0536
0.209 | -1.7634
0.2092 | -1.4453
0.2094 | -1.1044
0.2096 | -0.74607
0.2098 | -0.376
0.21 | 7.5092e-12
0.2102 | 0.376
0.2104 | 0.74607
0.2106 | 1.1044
0.2108 | 1.4453
0.211 | 1.7634
0.2112 | 2.0536
0.2114 | 2.3115
0.2116 | 2.533
0.2118 | 2.7145
0.212 | 2.8532
0.2122 | 2.9469
0.2124 | 2.9941
0.2126 | 2.9941
0.2128 | 2.9469
0.213 | 2.8532
0.2132 | 2.7145
0.2134 | 2.533
0.2136 | 2.3115
0.2138 | 2.0536
0.214 | 1.7634
0.2142 | 1.4453
0.2144 | 1.1044
0.2146 | 0.74607
0.2148 | 0.376
0.215 | -7.7327e-12
0.2152 | -0.376
0.2154 | -0.74607
0.2156 | -1.1044
0.2158 | -1.4453
0.216 | -1.7634
0.2162 | -2.0536
0.2164 | -2.3115
0.2166 | -2.533
0.2168 | -2.7145
0.217 | -2.8532
0.2172 | -2.9469
0.2174 | -2.9941
0.2176 | -2.9941
0.2178 | -2.9469
0.218 | -2.8532
0.2182 | -2.7145
0.2184 | -2.533
0.2186 | -2.3115
0.2188 | -2.0536
0.219 | -1.7634
0.2192 | -1.4453
0.2194 | -1.1044
0.2196 | -0.74607
0.2198 | -0.376
0.22 | 7.9561e-12
0.2202 | 0.376
0.2204 | 0.74607
0.2206 | 1.1044
0.2208 | 1.4453
0.221 | 1.7634
0.2212 | 2.0536
0.2214 | 2.3115
0.2216 | 2.533
0.2218 | 2.7145
0.222 | 2.8532
0.2222 | 2.9469
0.2224 | 2.9941
0.2226 | 2.9941
0.2228 | 2.9469
0.223 | 2.8532
0.2232 | 2.7145
0.2234 | 2.533
0.2236 | 2.3115
0.2238 | 2.0536
0.224 | 1.7634
0.2242 | 1.4453
0.2244 | 1.1044
0.2246 | 0.74607
0.2248 | 0.376
0.225 | -8.2648e-12
0.2252 | -0.376
0.2254 | -0.74607
0.2256 | -1.1044
0.2258 | -1.4453
0.226 | -1.7634
0.2262 | -2.0536
0.2264 | -2.3115
0.2266 | -2.533
0.2268 | -2.7145
0.227 | -2.8532
0.2272 | -2.9469
0.2274 | -2.9941
0.2276 | -2.9941
0.2278 | -2.9469
0.228 | -2.8532
0.2282 | -2.7145
0.2284 | -2.533
0.2286 | -2.3115
0.2288 | -2.0536
0.229 | -1.7634
0.2292 | -1.4453
0.2294 | -1.1044
0.2296 | -0.74607
0.2298 | -0.376
0.23 | 8.4883e-12
0.2302 | 0.376
0.2304 | 0.74607
0.2306 | 1.1044
0.2308 | 1.4453
0.231 | 1.7634
0.2312 | 2.0536
0.2314 | 2.3115
0.2316 | 2.533
0.2318 | 2.7145
0.232 | 2.8532
0.2322 | 2.9469
0.2324 | 2.9941
0.2326 | 2.9941
0.2328 | 2.9469
0.233 | 2.8532
0.2332 | 2.7145
0.2334 | 2.533
0.2336 | 2.3115
0.2338 | 2.0536
0.234 | 1.7634
0.2342 | 1.4453
0.2344 | 1.1044
0.2346 | 0.74607
0.2348 | 0.376
0.235 | -8.797e-12
0.2352 | -0.376
0.2354 | -0.74607
0.2356 | -1.1044
0.2358 | -1.4453
0.236 | -1.7634
0.2362 | -2.0536
0.2364 | -2.3115
0.2366 | -2.533
0.2368 | -2.7145
0.237 | -2.8532
0.2372 | -2.9469
0.2374 | -2.9941
0.2376 | -2.9941
0.2378 | -2.9469
0.238 | -2.8532
0.2382 | -2.7145
0.2384 | -2.533
0.2386 | -2.3115
0.2388 | -2.0536
0.239 | -1.7634
0.2392 | -1.4453
0.2394 | -1.1044
0.2396 | -0.74607
0.2398 | -0.376
0.24 | 9.1057e-12

## Signals (2)
Sine Sampling Rate |  | 1 | Hz
Sine Amplitude |  | 10 | Volts
Sine Frequency |  | 0.1 | Hz
Sine Offset |  | 0
Time (seconds) | Sine Function
0 | 0 | 0 | 0 | 0.43476
1 | 5.8779 | 1 | 0 | 6.1234
2 | 9.5106 | 1 | 5.8779 | 9.5573
3 | 9.5106 | 2 | 5.8779 | 9.8937
4 | 5.8779 | 2 | 9.5106 | 6.0876
5 | 1.2251e-15 | 3 | 9.5106 | 0.23737
6 | -5.8779 | 3 | 9.5106 | -5.7321
7 | -9.5106 | 4 | 9.5106 | -9.5934
8 | -9.5106 | 4 | 5.8779 | -9.6168
9 | -5.8779 | 5 | 5.8779 | -5.8603
10 | -2.4503e-15 | 5 | 1.2251e-15 | 0.25362
11 | 5.8779 | 6 | 1.2251e-15 | 5.5994
12 | 9.5106 | 6 | -5.8779 | 9.8382
13 | 9.5106 | 7 | -5.8779 | 9.1473
14 | 5.8779 | 7 | -9.5106 | 6.127
15 | 3.6754e-15 | 8 | -9.5106 | 0.062553
16 | -5.8779 | 8 | -9.5106 | -5.6459
17 | -9.5106 | 9 | -9.5106 | -9.6842
18 | -9.5106 | 9 | -5.8779 | -9.8623
19 | -5.8779 | 10 | -5.8779 | -5.6613
20 | -4.9006e-15 | 10 | -2.4503e-15 | 0.2725
21 | 5.8779 | 11 | -2.4503e-15 | 6.3497
22 | 9.5106 | 11 | 5.8779 | 9.3606
23 | 9.5106 | 12 | 5.8779 | 9.0423
24 | 5.8779 | 12 | 9.5106 | 6.2632
25 | -1.1638e-14 | 13 | 9.5106 | -0.012111
26 | -5.8779 | 13 | 9.5106 | -6.1181
27 | -9.5106 | 14 | 9.5106 | -9.9785
28 | -9.5106 | 14 | 5.8779 | -9.2024
29 | -5.8779 | 15 | 5.8779 | -6.2092
30 | -7.3509e-15 | 15 | 3.6754e-15 | 0.013778
31 | 5.8779 | 16 | 3.6754e-15 | 6.0263
32 | 9.5106 | 16 | -5.8779 | 9.5095
33 | 9.5106 | 17 | -5.8779 | 9.9257
34 | 5.8779 | 17 | -9.5106 | 6.3036
35 | 8.576e-15 | 18 | -9.5106 | 0.077625
36 | -5.8779 | 18 | -9.5106 | -6.0688
37 | -9.5106 | 19 | -9.5106 | -9.7015
38 | -9.5106 | 19 | -5.8779 | -9.7768
39 | -5.8779 | 20 | -5.8779 | -6.0975
40 | -9.8012e-15 | 20 | -4.9006e-15 | -0.12882
41 | 5.8779 | 21 | -4.9006e-15 | 5.5176
42 | 9.5106 | 21 | 5.8779 | 9.661
43 | 9.5106 | 22 | 5.8779 | 9.7426
44 | 5.8779 | 22 | 9.5106 | 5.819
45 | -2.4501e-14 | 23 | 9.5106 | -0.41688
46 | -5.8779 | 23 | 9.5106 | -5.7116
47 | -9.5106 | 24 | 9.5106 | -9.8764
48 | -9.5106 | 24 | 5.8779 | -9.7072
49 | -5.8779 | 25 | 5.8779 | -5.7138
50 | 2.3276e-14 | 25 | -1.1638e-14 | -0.092423
51 | 5.8779 | 26 | -1.1638e-14 | 5.421

## SampleQuantizedDataFile
National Instruments VirtualBench-Scope 2.1.1 Report
Date Created: | 2002-09-04 | 13:56
USER NAME: | scottw
COMMENTS: | 1 Hz input Sine Wave, low amplitude
Attenuation 0.01
100 S/s, 100 mV/div, 500 pts
Quantized Waveform |  |  | Cut and Paste your data into this spreadsheet tab.
MEASUREMENTS | Ch 1
DC: | ｱOver
AC rms | ｱOver
Vmax: | ｱOver
Vmin: | ｱOver
Vp-p: | ｱOver
Vtop: | ｱOver
Vbase: | ｱOver
Amplitude: | ｱOver
Overshoot: | ｱOver
Undershoot: | ｱOver
# of Samples: | 501
Frequency: | 979 mHz
Period: | 1.02 sec
Pulse Delay: | ｱOver
Risetime: | ｱOver
Falltime: | ｱOver
Pulse Width: | ｱOver
Slew Rate: | ｱOver
START DATA
Time | Ch 1
0 | 0.00022
0.01 | 0.00022
0.02 | 0.00022
0.03 | 0.00022
0.04 | 0.00022
0.05 | 0.00022
0.06 | 0.00022
0.07 | 0.00022
0.08 | 0.00022
0.09 | 0.00022
0.1 | 0.00022
0.11 | 0.000195
0.12 | 0.000195
0.13 | 0.000195
0.14 | 0.000195
0.15 | 0.000195
0.16 | 0.000195
0.17 | 0.000195
0.18 | 0.000171
0.19 | 0.000171
0.2 | 0.000171
0.21 | 0.000171
0.22 | 0.000171
0.23 | 0.000146
0.24 | 0.000171
0.25 | 0.000146
0.26 | 0.000146
0.27 | 0.000146
0.28 | 0.000122
0.29 | 0.000122
0.3 | 0.000122
0.31 | 0.000122
0.32 | 9.7656e-05
0.33 | 9.7656e-05
0.34 | 9.7656e-05
0.35 | 9.7656e-05
0.36 | 9.7656e-05
0.37 | 7.3242e-05
0.38 | 7.3242e-05
0.39 | 7.3242e-05
0.4 | 7.3242e-05
0.41 | 7.3242e-05
0.42 | 7.3242e-05
0.43 | 4.8828e-05
0.44 | 4.8828e-05
0.45 | 7.3242e-05
0.46 | 4.8828e-05
0.47 | 4.8828e-05
0.48 | 4.8828e-05
0.49 | 4.8828e-05
0.5 | 2.4414e-05
0.51 | 2.4414e-05
0.52 | 2.4414e-05
0.53 | 4.8828e-05
0.54 | 2.4414e-05
0.55 | 2.4414e-05
0.56 | 2.4414e-05
0.57 | 2.4414e-05
0.58 | 2.4414e-05
0.59 | 2.4414e-05
0.6 | 2.4414e-05
0.61 | 2.4414e-05
0.62 | 4.8828e-05
0.63 | 4.8828e-05
0.64 | 4.8828e-05
0.65 | 4.8828e-05
0.66 | 7.3242e-05
0.67 | 4.8828e-05
0.68 | 7.3242e-05
0.69 | 7.3242e-05
0.7 | 7.3242e-05
0.71 | 7.3242e-05
0.72 | 7.3242e-05
0.73 | 9.7656e-05
0.74 | 7.3242e-05
0.75 | 9.7656e-05
0.76 | 9.7656e-05
0.77 | 0.000122
0.78 | 0.000122
0.79 | 0.000122
0.8 | 0.000122
0.81 | 0.000146
0.82 | 0.000146
0.83 | 0.000146
0.84 | 0.000146
0.85 | 0.000146
0.86 | 0.000171
0.87 | 0.000146
0.88 | 0.000171
0.89 | 0.000171
0.9 | 0.000171
0.91 | 0.000171
0.92 | 0.000195
0.93 | 0.000195
0.94 | 0.000195
0.95 | 0.000195
0.96 | 0.00022
0.97 | 0.00022
0.98 | 0.000195
0.99 | 0.00022
1 | 0.00022
1.01 | 0.00022
1.02 | 0.00022
1.03 | 0.00022
1.04 | 0.00022
1.05 | 0.00022
1.06 | 0.00022
1.07 | 0.00022
1.08 | 0.00022
1.09 | 0.00022
1.1 | 0.00022
1.11 | 0.000195
1.12 | 0.000195
1.13 | 0.00022
1.14 | 0.000195
1.15 | 0.000195
1.16 | 0.000195
1.17 | 0.000195
1.18 | 0.000195
1.19 | 0.000195
1.2 | 0.000171
1.21 | 0.000171
1.22 | 0.000171
1.23 | 0.000171
1.24 | 0.000171
1.25 | 0.000171
1.26 | 0.000146
1.27 | 0.000146
1.28 | 0.000146
1.29 | 0.000146
1.3 | 0.000122
1.31 | 0.000122
1.32 | 0.000122
1.33 | 0.000122
1.34 | 9.7656e-05
1.35 | 9.7656e-05
1.36 | 9.7656e-05
1.37 | 9.7656e-05
1.38 | 7.3242e-05
1.39 | 7.3242e-05
1.4 | 7.3242e-05
1.41 | 7.3242e-05
1.42 | 7.3242e-05
1.43 | 7.3242e-05
1.44 | 7.3242e-05
1.45 | 7.3242e-05
1.46 | 4.8828e-05
1.47 | 4.8828e-05
1.48 | 4.8828e-05
1.49 | 4.8828e-05
1.5 | 4.8828e-05
1.51 | 4.8828e-05
1.52 | 4.8828e-05
1.53 | 2.4414e-05
1.54 | 2.4414e-05
1.55 | 2.4414e-05
1.56 | 2.4414e-05
1.57 | 2.4414e-05
1.58 | 2.4414e-05
1.59 | 2.4414e-05
1.6 | 4.8828e-05
1.61 | 2.4414e-05
1.62 | 2.4414e-05
1.63 | 4.8828e-05
1.64 | 4.8828e-05
1.65 | 4.8828e-05
1.66 | 4.8828e-05
1.67 | 4.8828e-05
1.68 | 4.8828e-05
1.69 | 7.3242e-05
1.7 | 7.3242e-05
1.71 | 7.3242e-05
1.72 | 7.3242e-05
1.73 | 9.7656e-05
1.74 | 7.3242e-05
1.75 | 7.3242e-05
1.76 | 9.7656e-05
1.77 | 9.7656e-05
1.78 | 9.7656e-05
1.79 | 0.000122
1.8 | 0.000122
1.81 | 0.000122
1.82 | 0.000122
1.83 | 0.000146
1.84 | 0.000146
1.85 | 0.000146
1.86 | 0.000146
1.87 | 0.000146
1.88 | 0.000171
1.89 | 0.000146
1.9 | 0.000171
1.91 | 0.000171
1.92 | 0.000171
1.93 | 0.000195
1.94 | 0.000195
1.95 | 0.000195
1.96 | 0.000195
1.97 | 0.000195
1.98 | 0.00022
1.99 | 0.00022
2 | 0.00022
2.01 | 0.00022
2.02 | 0.00022
2.03 | 0.000195
2.04 | 0.00022
2.05 | 0.00022
2.06 | 0.00022
2.07 | 0.00022
2.08 | 0.00022
2.09 | 0.00022
2.1 | 0.00022
2.11 | 0.00022
2.12 | 0.00022
2.13 | 0.00022
2.14 | 0.00022
2.15 | 0.000195
2.16 | 0.000195
2.17 | 0.000195
2.18 | 0.000195
2.19 | 0.000195
2.2 | 0.000195
2.21 | 0.000195
2.22 | 0.000171
2.23 | 0.000171
2.24 | 0.000171
2.25 | 0.000171
2.26 | 0.000171
2.27 | 0.000146
2.28 | 0.000171
2.29 | 0.000146
2.3 | 0.000146
2.31 | 0.000146
2.32 | 0.000146
2.33 | 0.000122
2.34 | 0.000122
2.35 | 0.000122
2.36 | 9.7656e-05
2.37 | 9.7656e-05
2.38 | 9.7656e-05
2.39 | 9.7656e-05
2.4 | 9.7656e-05
2.41 | 7.3242e-05
2.42 | 7.3242e-05
2.43 | 7.3242e-05
2.44 | 7.3242e-05
2.45 | 7.3242e-05
2.46 | 7.3242e-05
2.47 | 7.3242e-05
2.48 | 4.8828e-05
2.49 | 4.8828e-05
2.5 | 4.8828e-05
2.51 | 4.8828e-05
2.52 | 4.8828e-05
2.53 | 4.8828e-05
2.54 | 2.4414e-05
2.55 | 2.4414e-05
2.56 | 2.4414e-05
2.57 | 2.4414e-05
2.58 | 2.4414e-05
2.59 | 2.4414e-05
2.6 | 2.4414e-05
2.61 | 4.8828e-05
2.62 | 2.4414e-05
2.63 | 2.4414e-05
2.64 | 4.8828e-05
2.65 | 2.4414e-05
2.66 | 2.4414e-05
2.67 | 4.8828e-05
2.68 | 4.8828e-05
2.69 | 4.8828e-05
2.7 | 4.8828e-05
2.71 | 4.8828e-05
2.72 | 7.3242e-05
2.73 | 7.3242e-05
2.74 | 7.3242e-05
2.75 | 7.3242e-05
2.76 | 7.3242e-05
2.77 | 7.3242e-05
2.78 | 9.7656e-05
2.79 | 0.000122
2.8 | 9.7656e-05
2.81 | 9.7656e-05
2.82 | 0.000122
2.83 | 0.000122
2.84 | 0.000122
2.85 | 0.000146
2.86 | 0.000146
2.87 | 0.000146
2.88 | 0.000146
2.89 | 0.000146
2.9 | 0.000171
2.91 | 0.000171
2.92 | 0.000171
2.93 | 0.000171
2.94 | 0.000195
2.95 | 0.000195
2.96 | 0.000195
2.97 | 0.000195
2.98 | 0.000195
2.99 | 0.000195
3 | 0.000195
3.01 | 0.00022
3.02 | 0.000195
3.03 | 0.000195
3.04 | 0.00022
3.05 | 0.00022
3.06 | 0.00022
3.07 | 0.00022
3.08 | 0.00022
3.09 | 0.00022
3.1 | 0.00022
3.11 | 0.00022
3.12 | 0.00022
3.13 | 0.00022
3.14 | 0.00022
3.15 | 0.00022
3.16 | 0.00022
3.17 | 0.00022
3.18 | 0.000195
3.19 | 0.000195
3.2 | 0.000195
3.21 | 0.000195
3.22 | 0.000195
3.23 | 0.000195
3.24 | 0.000195
3.25 | 0.000171
3.26 | 0.000171
3.27 | 0.000171
3.28 | 0.000171
3.29 | 0.000146
3.3 | 0.000146
3.31 | 0.000146
3.32 | 0.000146
3.33 | 0.000146
3.34 | 0.000122
3.35 | 0.000122
3.36 | 0.000122
3.37 | 0.000122
3.38 | 0.000122
3.39 | 0.000122
3.4 | 9.7656e-05
3.41 | 9.7656e-05
3.42 | 9.7656e-05
3.43 | 9.7656e-05
3.44 | 9.7656e-05
3.45 | 7.3242e-05
3.46 | 7.3242e-05
3.47 | 7.3242e-05
3.48 | 7.3242e-05
3.49 | 4.8828e-05
3.5 | 4.8828e-05
3.51 | 4.8828e-05
3.52 | 4.8828e-05
3.53 | 4.8828e-05
3.54 | 4.8828e-05
3.55 | 4.8828e-05
3.56 | 4.8828e-05
3.57 | 2.4414e-05
3.58 | 2.4414e-05
3.59 | 2.4414e-05
3.6 | 2.4414e-05
3.61 | 2.4414e-05
3.62 | 2.4414e-05
3.63 | 2.4414e-05
3.64 | 2.4414e-05
3.65 | 2.4414e-05
3.66 | 2.4414e-05
3.67 | 4.8828e-05
3.68 | 4.8828e-05
3.69 | 4.8828e-05
3.7 | 4.8828e-05
3.71 | 4.8828e-05
3.72 | 4.8828e-05
3.73 | 4.8828e-05
3.74 | 7.3242e-05
3.75 | 7.3242e-05
3.76 | 7.3242e-05
3.77 | 7.3242e-05
3.78 | 9.7656e-05
3.79 | 9.7656e-05
3.8 | 9.7656e-05
3.81 | 9.7656e-05
3.82 | 9.7656e-05
3.83 | 9.7656e-05
3.84 | 0.000122
3.85 | 0.000122
3.86 | 0.000122
3.87 | 0.000122
3.88 | 0.000146
3.89 | 0.000146
3.9 | 0.000146
3.91 | 0.000146
3.92 | 0.000171
3.93 | 0.000171
3.94 | 0.000171
3.95 | 0.000171
3.96 | 0.000171
3.97 | 0.000171
3.98 | 0.000195
3.99 | 0.000195
4 | 0.000195
4.01 | 0.000195
4.02 | 0.00022
4.03 | 0.00022
4.04 | 0.00022
4.05 | 0.00022
4.06 | 0.00022
4.07 | 0.00022
4.08 | 0.00022
4.09 | 0.00022
4.1 | 0.00022
4.11 | 0.00022
4.12 | 0.00022
4.13 | 0.00022
4.14 | 0.00022
4.15 | 0.00022
4.16 | 0.00022
4.17 | 0.00022
4.18 | 0.00022
4.19 | 0.000195
4.2 | 0.000195
4.21 | 0.00022
4.22 | 0.000195
4.23 | 0.000195
4.24 | 0.000195
4.25 | 0.000195
4.26 | 0.000171
4.27 | 0.000171
4.28 | 0.000171
4.29 | 0.000171
4.3 | 0.000171
4.31 | 0.000146
4.32 | 0.000146
4.33 | 0.000146
4.34 | 0.000146
4.35 | 0.000146
4.36 | 0.000122
4.37 | 0.000122
4.38 | 0.000122
4.39 | 0.000122
4.4 | 0.000122
4.41 | 9.7656e-05
4.42 | 9.7656e-05
4.43 | 9.7656e-05
4.44 | 9.7656e-05
4.45 | 7.3242e-05
4.46 | 9.7656e-05
4.47 | 7.3242e-05
4.48 | 7.3242e-05
4.49 | 7.3242e-05
4.5 | 7.3242e-05
4.51 | 7.3242e-05
4.52 | 7.3242e-05
4.53 | 4.8828e-05
4.54 | 4.8828e-05
4.55 | 4.8828e-05
4.56 | 4.8828e-05
4.57 | 4.8828e-05
4.58 | 4.8828e-05
4.59 | 2.4414e-05
4.6 | 2.4414e-05
4.61 | 2.4414e-05
4.62 | 2.4414e-05
4.63 | 2.4414e-05
4.64 | 2.4414e-05
4.65 | 2.4414e-05
4.66 | 2.4414e-05
4.67 | 2.4414e-05
4.68 | 4.8828e-05
4.69 | 4.8828e-05
4.7 | 4.8828e-05
4.71 | 4.8828e-05
4.72 | 4.8828e-05
4.73 | 4.8828e-05
4.74 | 4.8828e-05
4.75 | 4.8828e-05
4.76 | 7.3242e-05
4.77 | 7.3242e-05
4.78 | 7.3242e-05
4.79 | 7.3242e-05
4.8 | 9.7656e-05
4.81 | 9.7656e-05
4.82 | 9.7656e-05
4.83 | 9.7656e-05
4.84 | 0.000122
4.85 | 9.7656e-05
4.86 | 0.000122
4.87 | 0.000122
4.88 | 0.000122
4.89 | 0.000122
4.9 | 0.000146
4.91 | 0.000146
4.92 | 0.000146
4.93 | 0.000146
4.94 | 0.000146
4.95 | 0.000171
4.96 | 0.000171
4.97 | 0.000171
4.98 | 0.000171
4.99 | 0.000171
5 | 0.000195
END DATA