Nonstructural Damage Database User’s Manual

This database provides damage information on nonstructural components in earthquakes from the Alaska Earthquake of 1964 to the present.  Information has been gathered from various available publications, such as books, reports, and periodicals.  Information on damage to nonstructural elements is not easily available; most earthquake reconnaissance reports and other publications concentrate on structural or geological elements.  Therein lies the challenge facing the development of this database.  It will never be completely finished, as earthquakes continue to occur and information is gathered from them.  There is also much information on past earthquakes that is missing in many entries (such as PGA or distance from epicenter) which would be filled in if that information becomes available.  Hence, this database is presented as a living document, which will continue to be updated and evolve.

0.  Microsoft Access 97

The database has been built using Microsoft Access 97.  In order to view the contents, a copy of Access 97 will be needed, as well as a basic knowledge of how to use it.

This database contains a variety of functions, each of which is given a tab.  The two main tabs used here are the Tables tab and the Forms tab.  Tables are basically laid out like a spreadsheet, and are very similar in appearance.  Forms are entry forms, the traditional way of data entry in Access.  The main form has been designed to present all of the necessary data in an orderly fashion.  A summary of the different tables and forms is as follows:

Table 1: List of Tables and Forms

| Tables | Forms |
| --- | --- |
| bibliography earthquakes earthquakes unused equip list nonstructural references | bibliography nonstructural references |

The form entitled “nonstructural” is the main form used for data entry.  The contents of these tables and forms will be discussed in more detail in the following sections.

1.  Contents

# 1.1 Tables

### Table 2: View of Tables

- bibliography – This is a list of relevant sources that were scrutinized but not actually referenced in the database.  This is provided to illustrate the coverage of the research involved in developing this database.

- earthquakes – A list of all of the earthquakes that have entries in the database.  The format of the listing is the name of the earthquake, followed by an approximate date, i.e., “Northridge, 1/94” or “Alaska, 3/64”.

- earthquakes unused – A listing of earthquakes that were researched, but for which no useful or quantifiable information on nonstructural damage was found.  These earthquakes do not have entries in the database.  Provided here are the names of the earthquakes and the dates on which they occurred.

- equip list – This is a list of the different categories contained in the fields equipment type and building type.  This list is linked to the nonstructural form and will be discussed further there.

- nonstructural – This is the main database in table form.  It is linked to the nonstructural form, where it will be described in detail.

- references – A list of all the sources that were used to enter information into the database, in table format.  These sources have been referenced in the Reference field in the nonstructural form.

These tables contain the information used to build other parts of the database, such as forms and reports.  The following are partial views of the earthquakes table and the nonstructural table.

Table 3: The earthquakes table (partial view)

Table 4: The nonstructural table (partial view)

1.2 Forms

The forms present the data in a more organized manner, making the information easier to digest and view.  Currently, there are three forms: references, bibliography, and nonstructural.

Table 5: View of Forms

references – This is the form version of the references table.  It contains the following fields, linked from the references table:

- Reference Number – This is an Autonumber, automatically assigned to each entry by Access as they are entered.

- Reference Name – This contains all of the relevant information required when listing references, such as author, title, publisher, date of publication, and report number or volume number when necessary.

- Location – The call number of the reference at the Science and Engineering Library at SUNY at Buffalo.  This is provided for internal use, for easy reference.

Table 6: The references form

The references are not in alphabetical order.  They are numbered in the order that they are found and entered into the database.

bibliography – This is the form version of the bibliography table.  Its fields are identical to those in the references form, except that they are linked to the fields in the bibliography table.

nonstructural – This is the main form of the database, containing all the important information.  It is discussed in detail in the next section.

1.3 The nonstructural Form

This is a long form with many fields, which are basically broken up into the following categories: Equipment Info, Building Info, Earthquake Info, and Reference.

Table 7: The nonstructural form (top portion)

Table 8: The nonstructural form (bottom portion)

Equipment Info.  This group of fields describes the equipment or nonstructural component that was damaged.  These fields are:

- Equipment.  Name of the piece of equipment that was damaged.  This is usually a general name such as “piping”, “ceiling”, or “elevator”, which would be expanded upon in the Damage field below.  This could also be a more specific name such as “elevator, counterweight”, or “piping, fire sprinkler”.  An entry of “none” means that there was no reported damage.

- Type.  This refers to the category of equipment, linked from the equipment type list from the equip list table.  This field is implemented as a pull-down menu for easy access.  It was decided to follow the NEHRP Guidelines for the Seismic Rehabilitation of Buildings, FEMA-273/October 1997, with the addition of medical equipment for the purposes of this database.  The equipment type categories are:

- architectural – exterior skin (veneers, glass blocks, panels, glazing), partitions, interior veneers, ceilings, parapets and appendages, canopies and marquees, chimneys and stacks, and stairs.

- mechanical – mechanical equipment (boilers, furnaces, machinery, HVAC), storage vessels and water heaters, various piping, and ductwork.

- electrical/comm. – electrical and communications equipment (generators, batteries, telephone equipment, etc.), and lighting fixtures.

- furnishing/interior – storage racks, bookcases, computer access floors, hazardous materials storage, computer and communication racks, elevators, and conveyors.

- medical – various hospital equipment.

If the equipment name was “none”, then the Type field is left blank.

- Damage.  A basic description of the damage, as detailed as the space will allow.  In some cases, the description occupies the entire four lines allotted for the field with useful details and background information.  In others, “damaged” is all the information that is available.

- Impact.  A description of the direct impact of the damage, i.e. length of time the facility was closed as a result, number of people killed, necessary repairs, fires, floods, etc.

- Damage Ratio.  This refers to how many pieces of identical equipment at the facility were damaged, in relation to the total number at the site.  For example, if there were 4 oxygen tanks at the facility and 2 were damaged, the damage ratio would be “2/4”.  This field is not strictly a fraction; it could also be a percentage, or if clarification is necessary, it could read, “2 of 4 fell over.”

- Earthquake.  Name of the earthquake in which the equipment was damaged.  This field is implemented as a pull-down menu for easy access, linked from the Earthquakes table.

Building Info.  This section describes the building in which the damage (or lack of damage) occurred.

- Type.  This is the category to which the building belongs.  It is implemented as a pull-down menu linked from the building type list in the equip list table.  The categories are:

- hospital – This encompasses, in addition to hospitals, any kind of medical facility such as a psychiatric institute.

- essential facility – This is a building that needs to remain functional, especially in times of crisis (such as an earthquake).  This would include fire and police departments, airports, power plants, and communication facilities.  Hospitals would also fit here, but they are given their own category.

- academic – schools and university buildings.

- office – office, or commercial buildings.

- various – This is for references that provide general data on several different types of facilities.  If information is given for several facilities of the same type, then the normal category is still used.

- unknown – for references that do not specify the building type.

- other – buildings that do not fit into the other categories.  Common entries of this type are residential buildings (apartments, houses, hotels), retail establishments, military facilities, etc.

- Building.  Name of the building.  This may include a specific part of a building complex, as well as the city it is in, i.e., “boiler plant, Olive View Medical Center, Sylmar”.

- CSMIP.  This is the identification number for buildings in the California Strong Motion Instrumentation Program, so it is only applicable for instrumented buildings in the state of California.  “USGS” means that the building is monitored by the U.S. Geological Survey.

- comment (#1).  This field usually contains the building’s distance from the epicenter (in kilometers) if it is available.  Otherwise, it could contain the street or town where the building is, or any geographical information that would be helpful in locating the building.

- Structure.  This describes the building’s structure type, i.e. steel frame, reinforced concrete, concrete and shear walls, etc.

- comment (#2).  This comment field contains other information about the building’s structure that might be helpful, i.e. the number of stories; whether it has a basement; or the date that it was built, which would help give an idea of the building standards in practice at the time of its construction.

Earthquake Info.  This section provides information on the earthquake, and the building’s performance in the earthquake.

- PGA (gH).  Peak Ground Acceleration in the horizontal direction at the site, or near the site.  Listed in units of g.

- PGA (gV).  Peak Ground Acceleration (in g) in the vertical direction, at or near the site.

- comment (#3).  This provides comments on the PGA’s, which could be further explanation of the PGA fields, or where the strong motion readings came from if the site itself was not instrumented, i.e. “from Santa Monica City Hall, 0.8 km away.”

- PFA (gH).  Peak Floor Acceleration (in g) in the horizontal direction, at the floor where the equipment was located.

- PFA (gV).  Peak Floor Acceleration (in g) in the vertical direction, at the floor where the equipment was located.  Note: The PFA’s are not commonly available as the site itself would need to be instrumented to have this information.

- comment (#4).  Any additional details or explanation of the PFA fields.  In some cases, the reference only provides the PFA at the roof of the building, but not at the floor on which the equipment was located.  That information could still be entered here as it could be useful as well.

- Height.  This includes two fields, the first being the floor on which the equipment was located, and the second being the total number of floors in the building.  For example, a piece of radiology equipment located on the 3rd floor of the 6-story Olive View Hospital would read, “3 / 6”.  If the height reads one greater than the total number of floors, such as “7 / 6”, then that means the equipment was located in the penthouse or on the roof of the building.

- bldg period (sec).  This is the building period in seconds at the time of the earthquake.  This information is not usually available, unless the building itself was instrumented.

- other info.  This is for additional information, such as: a brief description of the structural damage, information about the building or equipment that could not fit elsewhere, recommendations or lessons learned from the damage provided by the reference, or any other information that might be helpful.

Reference.  This section of the form contains only a single field, named Reference.  This is for citing the source from which the information for all the fields in the entry came from.  The format is first the reference number (which corresponds to the number in the references form), followed by a comma, and then the page numbers, i.e. “25, p. 420-421”.  If multiple references are used, then they are separated with a semicolon.

2.  Coverage

This section contains two parts: the Earthquake List, and Earthquakes Unused.  They are provided here to give a general idea of the coverage of this database.

The Earthquake List covers earthquakes that have entries in the database.  Earthquakes Unused covers earthquakes that were researched, but do not have entries since information on damage to nonstructural components in them was not found.

2.1 Earthquake List

The following is a list of all earthquakes covered by this database, and the number of entries they have.

Earthquake	Number of Entries

Northridge, 1/94	804

Loma Prieta, 10/89	261

Alaska, 3/64	237

Kobe, 1/95	151

Managua, Nicaragua, 12/72	117

Morgan Hill, 4/84	111

Miyagi-Ken-Oki, 6/78	105

San Fernando, 2/71	91

Coalinga, 5/83	77

Guam, 8/93	75

North Palm Springs, 7/86	69

Killari, 9/93	67

Imperial Valley, 10/73	64

San Salvador, 10/86	64

Whittier Narrows, 10/87	55

Newcastle, 12/89	53

Mexico, 9/85	50

Costa Rica, 4/91	40

Philippines, 7/90	40

Lima, 10/74	38

Bay of Plenty, NZ, 3/87	31

Montenegro, 4/79	29

Adak Island, 5/86	26

Erzincan, Turkey, 3/92	20

Umbria-Marche, 9/97	20

Armenia, USSR, 12/88	19

Superstition Hills, 11/87	19

Alum Rock, CA, 6/88	14

Roermond, Netherlands, 4/92	13

Chile, 3/85	13

Earthquake	Number of Entries

Cape Mendocino, 4/92	12

Livermore, CA, 1/80	12

Tokachi-oki, 5/68	12

Gorman, CA, 6/88	11

Saguenay, Quebec, 11/88	11

N. Italy, 5/6/76	10

Northern Kentucky, 7/80	10

Landers, 6/92	9

Quindio, Colombia, 1/25/99	8

Tonagawa, 7/68	8

Nihon-Kai Chubu, 5/83	6

Lijiang, 2/96	6

Iran, 6/90	5

Sanriku-Haruka-oki, 12/94	4

Seattle, 4/65	3

New Zealand, 3/87	3

Guatemala, 2/76	1

Izu Ohshima, 1978	1

Mindanao, Phillipines, 8/76	1

Kushiro-oki, 1993	1

Niigata, 6/64	1

Santa Barbara, 1978	1

2.2 Earthquakes Unused

The following earthquakes have been researched, but information on damage to nonstructural components in them was not found.  They do not have entries in the database.

Earthquake	Date

Jabalpur	May 22, 1997

Mexico Valley	June 9, 1980

Tangshan, China	July 28, 1976

Qir, southern Iran	April 10, 1972

El-Asnam, Algeria	October 10, 1980

Campania-Basilicata, Italy	November 23, 1980

Thessaloniki, Greece	June 20, 1978

Honomu, Hawaii	April 26, 1973

Miramichi, New Brunswick	January 9 and 11, 1982

Mindoro, Philippines	November 15, 1994

Muradiye-Caldiran, Turkey	November 24, 1976

Ecuador	March 5, 1987

3.  Features

It is not always desirable to view all of the entries in the database at once.  This database can be manipulated like any other Access database to select applicable entries.  A number of queries and reports are included in this database to ease this process.

3.1 Queries

Queries are used to find specific entries, or to sort the data without changing the corresponding table, as well as many other functions.  Queries can be linked to tables or other queries, and are automatically updated as the linked data is entered or changed.  This database contains four queries.

Table 9: View of Queries

The names of the queries begin with the prefix “qry” so that they are not confused with their corresponding tables.

- qry bibliography and qry references – These queries are used to sort the references in numerical order, by Reference Number.  They are linked to the bibliography and references tables, respectively.  Linking a report directly to one of these tables results in the entries being out of order, as Access seems to sort them in the order that they were last edited.

- qry earthquakes – This query provides a list of all the earthquakes with entries in the database.  It also contains a count of entries that each earthquake has, and sorts them from the one with the most entries (Northridge) on top, down to the one with the least.  In order to do this count, the “Total:” row is required, which is obtained by selecting the  (Totals) icon on the toolbar.

Table 10: qry earthquakes – Design View

Table 11: qry earthquakes – Datasheet View

The functions of the query are set in Design View, and are implemented when the query is switched to Datasheet View.

- qry general – This query contains every field in the nonstructural table.  It can be used to filter data for any field in the main database by entering conditions in the row labeled “Criteria”.

For example, entries pertaining to piping systems could be obtained by doing the following:

Table 12: qry general – Design View

- Enter ‘Like “*pip*”’ in the “Criteria” row, under the “Equipment” column.  This will filter the database so that only entries with equipment names that contain the string “pip” will be displayed.  This is necessary since equipment names are not standardized, so the criteria must be flexible to include “pipe”, “piping”, “water pipe”, “fire sprinkler piping”, etc.  The asterisks act as wildcards, like in MS-DOS.  So, entering ‘Like “pip*”’ would only include entries with equipment names that begin with the string “pip”.

- The “sort” row under the “ID” column can be set to “Ascending”, using the pull-down menu.  This will sort the filtered entries by their ID numbers, in ascending order.

- Switch to Datasheet View by hitting the View icon in the left-hand corner of the toolbar, or by hitting the ! (Run) icon, also on the toolbar.  The filtered entries are then displayed.

Table 13: qry general – Datasheet View

Other fields can be filtered in a similar fashion.  For example, to obtain entries with PGA greater than 0.5 g, enter “>0.5” in the “Criteria” row under the appropriate column.  To only view entries concerning the Northridge earthquake, enter “Northridge, 1/94” in the “Criteria” row under the “Earthquake” column.  Separate criteria may be run at the same time to further narrow down the number of entries to be displayed.  To display all entries in the database, do not enter any criteria.

The main purpose of the queries in this database is to manipulate and organize the data.  Queries are not meant to be printed, since they display information in a datasheet like tables.  If the information in a query is to be printed out, it should be linked to a report.

3.2 Reports

Reports are designed to be printed out, and thus are capable of presenting the data in the most attractive manner.  They can take their data from either tables or queries, though almost all of the reports included in this database are linked to queries.  Reports can be generated automatically by Access, using the Report Wizard, but for best presentation, the user should design them.

Table 14: View of Reports

- The reports rpt bibliography and rpt references are used to print out reference lists.  They are linked to their corresponding queries, qry bibliography and qry references.

- rpt earthquake entries is linked to qry earthquakes, and prints out the information in a table-like format.

- rpt earthquakes unused is linked to the table earthquakes unused.  It was not necessary to sort the data in that table.

- rpt nonstruct linked to gen qry takes its data from qry general.  It will print out whatever data that qry general is currently filtered for.  This report is designed to resemble the nonstructural form, and fits two entries per page.

These reports were used to print out parts of this user’s manual.  Below is the report designed to print the list of earthquakes.

Table 15: rpt earthquake entries – Design View

This report is linked to the query qry earthquakes, which was chosen when the report was created.  That query contains two fields, “Earthquake”, and “CountOfEarthquake”.  While in Design View, these fields are accessed by pressing the “Field List” icon on the toolbar, and can be dragged on to the report, into the “Details” section.  The sizes of the boxes in which the fields will appear can be adjusted accordingly.  Labels can then be created in the header or footer sections.  When the design of the report is finished, switching to Print Preview will give a general idea of what the report will look like when it is printed out.

Table 16: rpt earthquake entries – Print Preview (50% view)

Other reports were designed in a similar fashion.  The following is a sample page from rpt nonstruct linked to gen qry, which is used to print out hardcopies of entries from the database.  This sample was linked to a query (in qry general) for piping systems where the horizontal PGA was greater than 0.5 g.

3.3 Form Navigation

For basic viewing of the database, Access provides many convenient features to navigate through forms.  For viewing purposes, it is not necessary to run queries.

The small toolbar at the bottom of the form handles basic navigation.

Table 17: The navigation toolbar

The leftmost button brings the database to the first record.  The left arrow goes back one record, the right arrow goes forward one record.  The right arrow with bar takes the database to the last record, and the right arrow with star makes a new record.  Entering a number in the record number box and then pressing “Enter” brings the database directly to that record number.

Find…  It is also possible to search for any word in any field of the form.  For example, to find entries in the nonstructural form containing the word “ceiling” in the Equipment field, do the following:

- Select the Equipment field by clicking inside of it.

- Start the search by clicking “Find…” under the “Edit” menu, or by hitting ‘Ctrl+F’.  This brings up the “Find in field” dialogue box.

- Next to “Find What:” enter “ceiling”, or whatever word is wanted.

- Next to “Match:” select “Any Part of the Field” to make the search more flexible.  Selecting “Whole Field” will result in only searching for exact matches.

- Click on “Find First” to go to the first entry in the database which matches the search, or click on “Find Next”, which goes to the next matching entry.

- Click on “Close” to close the “Find in field” dialogue box, and to view the entire record.

Table 18: The “Find in field” dialogue box

Another convenient feature is the filter function.  This can achieve the functions of a query without having to leave the form.  There are basically two ways to filter the database: “Filter by Form” and “Filter by Selection”.

Filter by Form.  To “Filter by Form”, click on the “Records” menu at the top, place the cursor over “Filter”, and then click on “Filter by Form”.

Table 19: “Filter by Form” menu

Once in “Filter by Form”, enter the criteria in the fields in the same format as in queries.  For example, to filter for ceiling damage in the Northridge earthquake, enter ‘Like “*ceiling*”’ in the Equipment field, and enter “Northridge, 1/94” in the Earthquake field.  Pull-down menus are available here for the Equipment Type, Earthquake, and Building Type fields.

Table 20: Filter by Form

When finished entering criteria, click on the “Filter” menu on top, and then click on “Apply Filter/Sort” to apply the filter.  In the resulting form, only entries that match the criteria will be available for navigation.

Table 21: Filtered form

To remove the filter and return to the complete database, click on the “Records” menu on top, and then click on “Remove Filter/Sort”.  Or, as a shortcut, right-click anywhere on the form, and in the resulting pop-up menu, click on “Remove Filter/Sort”.

Filter by Selection.  “Filter by Selection” is a quick way to filter without having to “Filter by Form”.  It basically filters the database by matching the field of a record that is currently being viewed.  For example, while viewing a record pertaining to the Loma Prieta earthquake and it is desired to see all records that pertain to Loma Prieta, right-click in the Earthquake field to bring up the pop-up menu, and then click on “Filter by Selection”.  (This can also be done by clicking on the “Records” menu on top, and then clicking on “Filter by Selection”.)

Table 22: Right-click menu, Filter by Selection

The resulting filtered database is identical to a “Filter by Form” with “Loma Prieta, 10/89” entered as criteria in the Earthquake field.

In general, “Filter by Selection” is good for fields that have standardized names, such as the ones with pull-down menus: Equipment Type, Earthquake, and Building Type.

4.  References

1	.	Roche, T.R. and Merz, K.L.  IMPLICATION OF NORTHRIDGE EARTHQUAKE ON 1994 NEHRP

PROVISIONS AND SEISMIC RESTRAINT PERFORMANCE ON NONSTRUCTURAL

COMPONENTS: FACILITY INVESTIGATIONS.  September 1996.  EQE Project Number: 52307.01

2	.	PERFORMANCE OF NONSTRUCTURAL ELEMENTS (Background Report B19). Draft, August

1994.  (author, publisher unknown)

3	.	Goltz, J.D. ed.  THE NORTHRIDGE, CALIFORNIA EARTHQUAKE OF JANUARY 17, 1994:

GENERAL RECONNAISSANCE REPORT (Technical Report NCEER-94-0005).  National Center for

Earthquake Engineering Research, Buffalo, NY, 1994.

4	.	EERI.  NORTHRIDGE EARTHQUAKE, JANUARY 17, 1994: PRELIMINARY RECONNAISSANCE

REPORT.  Earthquake Engineering Research Institute, Oakland, CA, March 1994.

5	.	Pickett, M.A.  THE EFFECTS OF THE JANUARY 1994 NORTHRIDGE EARTHQUAKE ON

HOSPITAL LIFELINES.  Lifeline Earthquake Engineering: Proceedings of the 4th US Conference,

American Society of Civil Engineers, c. 1995, pg. 795-802.

6	.	Bachman, R.E. and Drake, R.M.  A STUDY TO EMPIRICALLY VALIDATE THE IN-STRUCTURE

RESPONSE ACCELERATION IN THE 1994 NEHRP PROVISIONS DESIGN FORCE

EQUATIONS...,  June 1995 (draft available from MCEER vertical file)

7	.	Ayres, J.M. and Sun, T.Y.  NONSTRUCTURAL DAMAGE, SAN FERNANDO, CALIFORNIA

EARTHQUAKE OF FEBRUARY 9, 1971: EFFECTS ON BUILDING STRUCTURES, Part B.

Murphy, Leonard M, ed.  NOAA, Washington, DC, 1973, p. 735-776.

8	.	Ayres & Ezer Associates, Hillman Biddison and Loevenguth.  NORTHRIDGE EARTHQUAKE

HOSPITAL WATER DAMAGE STUDY, April 15, 1996.  Office of Statewide Health Planning &

Development, Sacramento, CA, April 1996. (Contract No. 95-6002)

9	.	Gillengerten, J., Poland, C.D., Chong, G., Axon, D. and Sera, K.  OBSERVATIONS ON HOSPITAL

PERFORMANCE IN THE GREAT HANSHIN-AWAJI (KOBE) EARTHQUAKE OF JANUARY 17,

1995. CA Office of Statewide Planning and Development, Sacramento, CA, 1995.

10	.	Shinozuka, M., ed.  THE HANSHIN-AWAJI EARTHQUAKE OF JANUARY 17, 1995:

PERFORMANCE OF LIFELINES (Technical Report NCEER-95-0015).  National Center for

Earthquake Engineering Research, Buffalo, NY, November 3, 1995.

11	.	Rihal, S.S.  PERFORMANCE AND BEHAVIOR OF NONSTRUCTURAL BUILDING COMPONENTS

DURING THE WHITTIER NARROWS, CA (1987) & LOMA PRIETA, CA (1989) EARTHQUAKES-

SELECTED CASE STUDIES,  Proceedings of ATC-29 Seminar and Workshop on Seismic Design

and Performance of Equipment and Nonstructural Elements in Buildings and Industrial Structures,

pp. 119-143.  Applied Technology Council, Redwood City, CA, 1992.

12	.	Di Pasquale, G., Nuti, C., Orsini, G. and Sanò, T.  OBSERVED BEHAVIOR OF ITALIAN

HOSPITALS DURING SEVERE EARTHQUAKES.  Proceedings of  Seminar on Seismic Design,

Retrofit, and Performance of Nonstructural Components (ATC 29-1), pp. 455-467.  Applied

Technology Council, Redwood City, CA, 1998.

13	.	SAC.  TECHNICAL REPORT: SURVEYS AND ASSESSMENT OF DAMAGE TO BUILDINGS

AFFECTED BY THE NORTHRIDGE EARTHQUAKE OF JANUARY 17, 1994 (Report No.

SAC-95-06, SAC). Joint Venture, December 1995.

14	.	Strand, C.L.  PERFORMANCE OF SEISMIC SHUTOFF VALVES AND THE OCCURRENCE OF

GAS RELATED FIRES AND GAS LEAKS DURING THE 1994 NORTHRIDGE EARTHQUAKE, WITH

AN UPDATE ON LEGISLATION AND STANDARDS DEVELOPMENT.  Strand Earthquake

Consultants, Los Angeles, CA. [year unknown]

15	.	Levenson, L. M.  RESIDENTIAL WATER HEATER DAMAGE AND FIRES FOLLOWING THE LOMA

PRIETA AND BIG BEAR LAKE EARTHQUAKES,   Earthquake Spectra, Vol. 8, No. 4, p. 595-603.

El Cerrito, California, 1992.

16	.	PHILIPPINES EARTHQUAKE RECONNAISSANCE REPORT.  Earthquake Spectra, supplement A

to volume 7, 1991, p. 120-121.  El Cerrito, California, 1991.

17	.	EQE.  THE LANDERS AND BIG BEAR EARTHQUAKES OF JUNE 28, 1992.  An EQE Quick Look

Report.  EQE International, San Francisco, CA, 1992.

18	.	EQE.  GUAM EARTHQUAKE OF AUGUST 8, 1993, Review.  EQE International, San Francisco,

CA, Fall 1993.

19	.	EQE.  SUMMARY OF THE EARTHQUAKE EXPERIENCE DATA BASE.  EQE Engineering, Inc.,

San Francisco, CA , February 1991.

20	.	HVAC DUCT SYSTEM SEISMIC EXPERIENCE DATA (John Gillengerten's viewgraphs from June

14, 1992 mtg.)

21	.	Chen, P.C. and Lee, C.C.  EVALUATION OF EARTHQUAKE DESIGN PRACTICES FOR

COMPUTER FACILITIES.  Interpacific Technology, Inc., Alameda, California, October 1989.

22	.	McGavin, G.L.  OBSERVATIONS OF PUBLIC EDUCATIONAL FACILITIES WITHIN THE

EPICENTRAL AREA OF THE JANUARY 17, 1994 NORTHRIDGE, CALIFORNIA, EARTHQUAKE.

HMC Group, Ontario, CA, 1994.

23	.	Patrucco, H.A. and McGavin, G.  SURVEY OF NONSTRUCTURAL DAMAGE TO HEALTHCARE

FACILITIES BY THE JANUARY 1994 NORTHRIDGE EARTHQUAKE.  HMC Group, Ontario, CA,

1995.

24	.	Rihal, S.S. and Gates, W.  PERFORMANCE AND BEHAVIOR OF LIBRARY SHELVING AND

STORAGE RACK SYSTEMS DURING THE 1994 NORTHRIDGE EARTHQUAKE. Proceedings of

Seminar on Seismic Design Retrofit, and Performance of Nonstructural Components (ATC-29-1),

pp. 121-135.  Applied Technology Council, Redwood City, CA, 1998.

25	.	Ayres, J. M., Sun, T.Y. and Brown, F.R.  NONSTRUCTURAL DAMAGE TO BUILDINGS,  Ayres &

Hayakawa Consulting Mechanical and Electrical Engineers.  (based on report to US Army Corps of

Engineers on the March 27, 1964 Alaska earthquake).

26	.	Finley, J., Anerson, D. and Kwon, L.S.E.  REPORT ON THE NORTHRIDGE EARTHQUAKE

IMPACTS TO HOSPITAL ELEVATORS.  CA Office of Statewide Planning and Development, April

12, 1996.  Contract No. 94-5122.

27	.	Scawthorn, C., Cowell, A.D. and Borden, F.  FIRE RELATED ASPECTS OF THE NORTHRIDGE

EARTHQUAKE. (NIST-GCR-98-743) National Institute of Standards & Technology, October 1996,

Issued March 1998.

28	.	NORTHRIDGE EARTHQUAKE, JANUARY 17, 1994.  Fire Sprinkler Advisory Board, Cerritos, CA,

1994.

29	.	Gates, W.E. and McGavin, G.  LESSONS LEARNED FROM THE 1994 NORTHRIDGE

EARTHQUAKE ON THE VULNERABILITY OF NONSTRUCTURAL SYSTEMS.  Proceedings of

Seminar on Seismic Design, Retrofit, and Performance of Nonstructural Components (ATC 29-1),

pp. 93-106.  Applied Technology Council, Redwood City, CA, 1998.

30	.	Naeim, F. and Lobo, R.  PERFORMANCE OF NONSTRUCTURAL COMPONENTS DURING THE

JANUARY 17, 1994 NORTHRIDGE EARTHQUAKE--CASE STUDIES OF SIX INSTRUMENTED

MULTISTORY BUILDINGS.  Proceedings of Seminar on Seismic Design, Retrofit, and

Performance of Nonstructural Components (ATC 29-1), pp. 107-119.  Applied Technology Council,

Redwood City, CA, 1998.

31	.	EERC.  SEISMOLOGICAL AND ENGINEERING ASPECTS OF THE JANUARY 17, 1994

NORTHRIDGE EARTHQUAKE: UNABRIDGED SLIDE SET, Earthquake Engineering Research

Center (EERC), University of California, Berkeley, 1994.

32	.	Office of the State Architect, Structural Safety Section.  LANDERS/BIG BEAR EARTHQUAKES

PRELIMINARY REPORT - PUBLIC SCHOOLS.  Office of State Architect, Sacramento, CA, 1992.

33	.	Reitherman, R.  CURRENT EFFORTS TO IMPROVE THE PERFORMANCE OF NONSTRUCTURAL

SYSTEMS BASED ON EXPERIENCE FROM THE LOMA PRIETA EARTHQUAKE.  Wind and

Seismic Effects, pp. 391-395.  U.S. Department of Commerce, Gaithersburg, MD, 1991.

34	.	Astaneh, A.,  Bolourchi, S. and Ahmadi, M.M.  DAMAGE TO EQUIPMENT AND

NON-STRUCTURAL ELEMENTS DURING JUNE 21, 1990 IRAN EARTHQUAKE.  Proceedings of

Seminar and Workshop on Seismic Design and Performance of Equipment and Nonstructural

Elements in Buildings and Industrial Structures (ATC-29), pp. 145-153.  Applied Technology

Council, Redwood City, CA, 1990.

35	.	Kennedy/Jenks/Chilton.  1989 LOMA PRIETA EARTHQUAKE DAMAGE EVALUATION OF WATER

AND WASTEWATER TREATMENT FACILITY NONSTRUCTURAL TANK ELEMENTS.  National

Science Foundation, Washington, 1990.

36	.	Porter, K., Johnson, G.S., Zadeh, M.M., Scawthorn, C.R. and Eder, S.J.  SEISMIC

VULNERABILITY OF EQUIPMENT IN CRITICAL FACILITIES: LIFE-SAFETY AND OPERATIONAL

CONSEQUENCES.  National Center for Earthquake Engineering Research, Buffalo, NY, 1993.

37	.	Earthquake Engineering Research Institute.  LOMA PRIETA EARTHQUAKE OCTOBER 17, 1989:

PRELIMINARY RECONNAISSANCE REPORT.  Earthquake Engineering Research Institute, El

Cerrito, California, 1989.

38	.	EQE.  PRELIMINARY REPORT ON THE EFFECTS OF THE APRIL 24, 1984, MORGAN HILL,

CALIFORNIA, EARTHQUAKE.  EQE Incorporated, San Francisco, CA, June 1984.

39	.	Benuska, L., Technical Editor.  LOMA PRIETA EARTHQUAKE RECONNAISSANCE REPORT.

Earthquake Spectra, Supplement to Volume 6.  Earthquake Spectra, El Cerrito, California, 1990.

40	.	Reitherman, R. and Sabol, T.  NORTHRIDGE EARTHQUAKE OF JANUARY 17, 1994

RECONNAISSANCE REPORT, Volume 1 -- Nonstructural Damage.  Earthquake Spectra, Volume

11, Supplement C, pp. 453-513.  Earthquake Engineering Research Institute, Oakland, CA, 1995.

41	.	BSSC Program on Improved Seismic Safety Provisions.  SEISMIC CONSIDERATIONS: HEALTH

CARE FACILITIES.  Building Seismic Safety Council, Washington, D.C., 1987.

42	.	EERI.  LIJIANG, YUNNAN PROVINCE, CHINA EARTHQUAKE, FEBRUARY 3, 1996:

Reconnaissance Report.  EERI Learning From Earthquakes.  Earthquake Engineering Research

Institute, Oakland, CA, 1998.  National Science Foundation grant #BCS-9215158.

43	.	EQE.  THE CAPE MENDOCINO EARTHQUAKES OF APRIL 25 AND 26, 1992.  Quick Look

Report.  EQE International, San Francisco, CA, 1992.

44	.	THE NORTHRIDGE EARTHQUAKE: A Report to the Hospital Building Safety Board on the

Performance of Hospitals.  Facilities Development Division, Office of Statewide Health Planning and

Development, Sacramento, CA, 1995.

45	.	EQE.  THE APRIL 22, 1991 VALLE DE LA ESTRELLA, COSTA RICA EARTHQUAKE.  A Quick

Look Report.  EQE International, Inc., San Francisco, CA, May 1991.

46	.	Perkins, J.B. and Wyatt, E.G.  HAZARDOUS MATERIALS PROBLEMS ASSOCIATED WITH

NONSTRUCTURAL DESIGN IN RECENT CALIFORNIA EARTHQUAKES.  Proceedings of ATC-29

Seminar and Workshop on Seismic Design and Performance of Equipment and Nonstructural

Elements in Buildings and Industrial Structures, pp. 167-178.  Applied Technology Council,

Redwood City, CA, 1992.

47	.	Swan, S.W., Roche, T.R. and Horstman, N.G.  PERFORMANCE OF EMERGENCY POWER

SUPPLIES IN STRONG MOTION EARTHQUAKES.  Proceedings of ATC-29 Seminar and

Workshop on Seismic Design and Performance of Equipment and Nonstructural Elements in

Buildings and Industrial Structures, pp. 203-214.  Applied Technology Council, Redwood City, CA,

1992.

48	.	Selvaduray, G.  EARTHQUAKE CAUSED HAZARDOUS MATERIALS INCIDENTS AT

EDUCATIONAL FACILITIES.  Proceedings of Seminar on Seismic Design, Retrofit, and

Performance of Nonstructural Components (ATC-29-1), pp. 265-276.  Applied Technology Council,

Redwood City, CA, 1998.

49	.	Marrow, J.M., Weggel, D., Lynn, A. and Rihal, S.  CALIFORNIA WINE INDUSTRY SEISMIC RISK

ANALYSIS AND EXPERIMENTATION PROJECT.  Proceedings of Seminar on Seismic Design,

Retrofit, and Performance of Nonstructural Components (ATC-29-1), pp. 365-378.  Applied

Technology Council, Redwood City, CA, 1998.

50	.	Yanev, P. I., editor.  MIYAGI-KEN-OKI, JAPAN EARTHQUAKE JUNE 12, 1978.  Earthquake

Engineering Research Institute Reconnaissance Report.  Earthquake Engineering Research

Institute, Berkeley, CA, 1978.

51	.	URS Consultants, Inc.  NORTHRIDGE EARTHQUAKE STUDY OF SEISMIC DESIGN FACTORS

FOR HOSPITAL NON-STRUCTURAL COMPONENTS.  California Office of Statewide Health,

Planning and Development, Sacramento, CA, 1994.  Report developed under Contract Number

94-5124.

52	.	Melchers, R.E., editor.  NEWCASTLE EARTHQUAKE STUDY.  The Institution of Engineers,

Australia, 1990.

53	.	Anicic, D. … et al.; Matthiesen, R.B., coordinator; Leeds, A., editor.  MONTENEGRO,

YUGOSLAVIA EARTHQUAKE APRIL 15, 1979.  RECONNAISANCE  REPORT.  Earthquake

Engineering Research Institute, Berkeley, CA, November 1980.

54	.	Narula, P.L., Shome, S.K. and Murty, B.S.R., editors.  KILLARI EARTHQUAKE, 30 SEPTEMBER

1993.  Special Publication No. 37, Geological Survey of India, Calcutta, 1996.

55	.	EERI Reconnaissance Team; Moran, D., Team Leader … et al.  ENGINEERING ASPECTS OF

THE LIMA, PERU EARTHQUAKE OF OCTOBER 3, 1974.  Earthquake Engineering Research

Institute, Oakland, CA, 1975.

56	.	PRELIMINARY RECONNAISSANCE REPORT OF THE 1995 HYOGOKEN-NANBU EARTHQUAKE.

English Edition.  The Architectural Institute of Japan, Tokyo, Japan, April, 1995.

57	.	KOBE EARTHQUAKE RECONNAISSANCE REPORT: Earthquake of January 17, 1995, Kobe,

Japan.  Structural Engineers Association of Washington, Seattle, Washington, 1995.

58	.	Chung, R., Team Leader and Editor.  THE JANUARY 17, 1995 HYOGOKEN-NANBU (KOBE)

EARTHQUAKE: Performance of Structures, Lifelines, and Fire Protection Systems.  NIST Special

Publication 901 (ICSSC TR18).  Building and Fire Research Laboratory, National Institute of

Standards and Technology, Gaithersburg, MD, July 1996.

59	.	Fajfar, P., Duhovnik, J., Reflak, J., Fischinger, M. and Breška, Z.  THE BEHAVIOR OF BUILDINGS

AND OTHER STRUCTURES DURING THE EARTHQUAKES OF 1979 IN MONTENEGRO.  IKPR

Publication No. 19 A.  University "Edvard Kardelj" in Ljubljana, Department of Civil Engineering,

Ljubljana, July 1981.

60	.	EQE Incorporated; Swan, S., Principal Investigator.  INVESTIGATION OF THE SAN SALVADOR

EARTHQUAKE OF OCTOBER 10, 1986: Effects on Power and Industrial Facilities.  Electric Power

Research Institute, Inc., Palo Alto, CA, 1988.  NP-5616 Research Project 2848-6.

61	.	Earthquake Engineering Field Investigation Team.  THE SAN SALVADOR EARTHQUAKE OF 10TH

OCTOBER 1986.  A Field Report by EEFIT.  Rendel Palmer & Tritton, London, UK, 1987.

62	.	EERI.  THE QUINDIO, COLOMBIA, EARTHQUAKE OF JANUARY 25, 1999.  EERI Special

Earthquake Report - March 1999.  EERI Newsletter, March 1999, Volume 33, Number 3.

Earthquake Engineering Research Institute, Oakland, CA, 1999.  NSF grant #CMS-9526408, as

part of EERI's Learning from Earthquakes project.

63	.	EQE Incorporated; Swan, S., Principal Investigator.  THE 1986 NORTH PALM SPRINGS

EARTHQUAKE: Effects on Power Facilities.  Electric Power Research Institute, Inc., Palo Alto, CA,

1988.  NP-5607 Research Project 2848.

64	.	O'Rourke, M.J.  WATER SYSTEM AND PIPELINE DAMAGE IN THE LIMON AREA DUE TO THE

APRIL 22, 1991 EARTHQUAKE.  Proceedings of the NSF/UCR U.S.-Costa Rica Workshop on the

Costa Rica Earthquakes of 1990-1991, Effects on Soils and Structures, pp. 97-126.  Earthquake

Engineering Research Institute, Oakland, CA, 1993.

65	.	Comartin, C.D., Technical Editor.  GUAM EARTHQUAKE OF AUGUST 8, 1993,

RECONNAISSANCE REPORT.  Earthquake Spectra, Supplement B to Volume 11.  Earthquake

Engineering Research Institute, Oakland, CA, 1995.  NSF Grant #BCS-9215158.

66	.	Shea, G.H., editor.  ERZINCAN, TURKEY EARTHQUAKE OF MARCH 13, 1992,

RECONNAISSANCE REPORT.  Earthquake Spectra, Supplement to Volume 9.  Earthquake

Spectra, Oakland, CA, 1993.  NSF grant BCS 9215158.

67	.	EQE.  THE SUPERSTITION HILLS EARTHQUAKES OF NOVEMBER 23 AND 24, 1987.  An EQE

Summary Report.  EQE Engineering, San Francisco, CA, 1988.

68	.	EQE.  THE SAGUENAY, QUEBEC EARTHQUAKE OF NOVEMBER 25, 1988.  A Preliminary

Summary.  EQE Engineering, San Francisco, CA, December 1988.

69	.	Wyllie, L.A., Jr. and Filson, J.R., editors.  ARMENIA EARTHQUAKE RECONNAISSANCE

REPORT.  Earthquake Spectra, Special Supplement.  Earthquake Spectra, El Cerrito, CA, 1989.

70	.	Stratta, J.L. and Wyllie, L.A., Jr.  Reconnaissance Report: FRIULI, ITALY EARTHQUAKES OF

1976.  Earthquake Engineering Research Institute, Berkeley, CA, August 1979.

71	.	Amrhein, J.E., Hegemier, G.A. and Krishnamoorthy, G.  PERFORMANCE OF NATIVE

CONSTRUCTION, MASONRY STRUCTURES AND SPECIAL STRUCTURES IN THE MANAGUA,

NICARAGUA EARTHQUAKE OF DECEMBER 23, 1972.  Managua, Nicaragua Earthquake of

December 23, 1972.  Earthquake Engineering Research Institute Conference Proceedings,

Volume 1, pp. 342-403.  EERI, Oakland, CA, 1973.

72	.	Brandow, G.E., Coordinator; Leeds, D.J., Editor.  IMPERIAL COUNTY, CALIFORNIA,

EARTHQUAKE, OCTOBER 15, 1979: Reconnaissance Report.  Earthquake Engineering Research

Institute, Berekeley, CA, February 1980.

73	.	Wyllie, L.A., Jr.  PERFORMANCE OF THE BANCO CENTRAL BUILDING.  Managua, Nicaragua

Earthquake of December 23, 1972.  Earthquake Engineering Research Institute Conference

Proceedings, Volume II, pp. 571-585.  EERI, Oakland, CA, 1973.

74	.	Aktan, H.M. and Hanson, R.D.  DYNAMIC BEHAVIOR OF HOTEL MANAGUA

INTERCONTINENTAL IN THE MANAGUA EARTHQUAKE OF DECEMBER 23, 1972.  Managua,

Nicaragua Earthquake of December 23, 1972.  Earthquake Engineering Research Institute

Conference Proceedings, Volume II, pp. 586-603.  EERI, Oakland, CA, 1973.

75	.	Hanson, R.D. and Goel, S.C.  BEHAVIOR OF THE ENALUF OFFICE BUILDING IN THE MANAGUA

EARTHQUAKE OF DECEMBER 23, 1972.  Managua, Nicaragua Earthquake of December 23,

1972.  Earthquake Engineering Research Institute Conference Proceedings, Volume II, pp.

604-620.  EERI, Oakland, CA, 1973.

76	.	Yanev, P.I.  INDUSTRIAL DAMAGE.  Managua, Nicaragua Earthquake of December 23, 1972.

Earthquake Engineering Research Institute Conference Proceedings, Volume II, pp. 709-732.

EERI, Oakland, CA, 1973.

77	.	Berg, G.V. and Degenkolb, H.J.  ENGINEERING LESSONS FROM THE MANAGUA

EARTHQUAKE.  Managua, Nicaragua Earthquake of December 23, 1972.  Earthquake

Engineering Research Institute Conference Proceedings, Volume II, pp. 746-767.  EERI, Oakland,

CA, 1973.

78	.	Schiff, A.J., Technical Editor.  PHILIPPINES EARTHQUAKE RECONNAISSANCE REPORT.

Earthquake Spectra, Supplement A to Volume 7.  Earthquake Spectra, Oakland, CA, 1991.

79	.	Booth, E.D., Chandler, A.M., Wong, P.K.C. and Coburn, A.W.  THE LUZON, PHILIPPINES

EARTHQUAKE OF 16 JULY 1990.  A FIELD REPORT BY EEFIT.  Earthquake Engineering Field

Investigation Team, London, June 1991.

80	.	Hanson, R.D., Team Leader; Anderson, R.W. … et al.  NORTHERN KENTUCKY EARTHQUAKE,

JULY 27, 1980.  Reconnaissance Report.  Earthquake Engineering Research Institute, Berkeley,

CA, September 1980.

81	.	EQE.  SUMMARY OF THE JUNE 12, 1988 ALUM ROCK EARTHQUAKE.  EQE Incorporated, San

Francisco, CA, 1988.

82	.	EQE.  SUMMARY OF THE MAY 7, 1986 ADAK, ALASKA EARTHQUAKE.  EQE Incorporated, San

Francisco, CA, July 1986.

83	.	EQE.  SUMMARY OF THE JUNE 10, 1988 GORMAN, CALIFORNIA EARTHQUAKE.  EQE

Incorporated, San Francisco, CA, 1988.

84	.	EQE.  SUMMARY OF THE SEPTEMBER 19, 1985 MEXICO EARTHQUAKE.  EQE Incorporated,

San Francisco, CA, 1986.

85	.	EQE.  SUMMARY OF THE 1987 BAY OF PLENTY, NEW ZEALAND EARTHQUAKE.  EQE

Incorporated, San Francisco, CA, 1987.

86	.	EQE.  SUMMARY OF THE OCTOBER 1, 1987 WHITTIER, CALIFORNIA EARTHQUAKE: An EQE

Quick Look Report.  EQE Incorporated, San Francisco, CA, 1987.

87	.	EQE.  SUMMARY OF THE MAY 2, 1983 COALINGA, CALIFORNIA EARTHQUAKE.  EQE

Incorporated, San Francisco, CA, 1986.

88	.	EQE.  SUMMARY OF THE JULY 8, 1986 NORTH PALM SPRINGS, CALIFORNIA EARTHQUAKE.

EQE Incorporated, San Francisco, CA, 1986.

89	.	EQE.  SUMMARY OF THE MARCH 3, 1985 CHILE EARTHQUAKE.  EQE Incorporated, San

Francisco, CA, 1986.

90	.	H.J. Degenkolb Associates, Engineers.  THE WHITTIER NARROWS EARTHQUAKE, OCTOBER 1,

1987.  Degenkolb, San Francisco, CA, 1988.

91	.	Arnold, C.  THE 1985 CHILE EARTHQUAKE.  Architectural and Structural Configurations as

Determinants of Seismic Performance: Reinforced Concrete Buildings in Vina del Mar.  Building

Systems Development, Inc., San Mateo, CA, September 1990.  NSF Grant No. ECE 8604358.

92	.	Pappin, J.W., Chandler, A.M. and Coburn, A.W.  THE 1989 NEWCASTLE AUSTRALIAN

EARTHQUAKE.  A Field Report by EEFIT.  EEFIT, London, UK, March 1991.

93	.	Williams, M.S., editor, Pomonis, A., Booth, E.D., Vaciago, G. and Ring, S.  THE ERZINCAN,

TURKEY EARTHQUAKE OF 13 MARCH 1992.  A Field Report by EEFIT.  EEFIT, London, UK,

1992.

94	.	Weber, D.C.  LIBRARY BUILDINGS AND THE LOMA PRIETA EARTHQUAKE EXPERIENCE OF

OCTOBER 1989.  California State Library Foundation, Sacramento, CA, 1990.

95	.	Graduate Students of Class CE 282B - Earthquake Engineering.  MORGAN HILL, CALIFORNIA,

EARTHQUAKE OF APRIL 24, 1984.  A Preliminary Damage Report.  Department of Civil

Engineering, Stanford University, Stanford, CA, May 1984.

96	.	Tierney, K.J.  REPORT ON THE COALINGA EARTHQUAKE OF MAY 2, 1983.  Seismic Safety

Commission, Sacramento, CA, September 1985.

97	.	Meehan, J.F.  EFFECTS OF THE MORGAN HILL EARTHQUAKE ON HOSPITAL AND PUBLIC

SCHOOL BUILDINGS.  The 1984 Morgan Hill, California Earthquake, Special Publication 68, pp.

23-26.  California Department of Conservation, Division of Mines and Geology, Sacramento, CA,

1984.

98	.	EQE.  THE ROERMOND, NETHERLANDS, EARTHQUAKE OF 13 APRIL 1992.  EQE International,

San Francisco, CA, 1993.

99	.	Winslow, F.E. and Ross, K.E.K., editors.  PROCEEDINGS FROM SCHOOL SITES: BECOMING

PREPARED FOR EARTHQUAKES.  Commemorating the Third Anniversary of the Loma Prieta

Earthquake.  Technical Report NCEER-93-0015.  National Center for Earthquake Engineering

Research, Buffalo, NY, 1993.

100	.	Shea, G.H., editor.  COSTA RICA EARTHQUAKE OF APRIL 22, 1991: RECONNAISSANCE

REPORT.  Earthquake Spectra, Supplement B to Volume 7.  Earthquake Spectra, Oakland, CA,

1991.

101	.	Dames & Moore.  THE OCTOBER 17, 1989, LOMA PRIETA EARTHQUAKE: A Special Report by

Dames & Moore.  Dames & Moore, Los Angeles, CA, 1989.

102	.	EQE.  EFFECTS OF THE 1985 MEXICO EARTHQUAKE ON POWER AND INDUSTRIAL

FACILITIES.  NP-5784, Research Project 2848-6.  Electric Power Research Institute, Palo Alto,

CA, April 1988.

103	.	Meehan, J.F., Degenkolb, H.J. … et al.  MANAGUA, NICARAGUA EARTHQUAKE OF DECEMBER

23, 1972.  Earthquake Engineering Research Institute Reconnaissance Report.  EERI, Oakland,

CA, May 1973.

5.  Bibliography

1	.	BSSC Seismic Rehabilitation Project.  NEHRP GUIDELINES FOR THE SEISMIC REHABILITATION

OF BUILDINGS (FEMA Publication 273).  Building Seismic Safety Council, Washington, D.C.,

October 1997.

2	.	Arnold, C. and Durkin, M.  HOSPITALS AND THE SAN FERNANDO EARTHQUAKE OF FEBRUARY

1971: the operational experience.  A study conducted by Building Systems Development, Inc., San

Mateo, California, under a grant from the National Science Foundation, Washington, D.C., August

1983.

3	.	HOSPITALS IN THE MEXICO EARTHQUAKE OF SEPTEMBER 19, 1985: IMPACT, RESPONSE,

RECOVERY, RECONSTRUCTION.  Safety Sciences, Inc., San Diego, CA; principal investigator,

DMJ Compton.  Final Research Report, May 1990.  Supported by National Science Foundation

Grant # CES-871245.

4	.	NCEER Bulletin, Vol. 9, No. 2, April 1995.  National Center for Earthquake Engineering Research,

Buffalo, NY, 1995.

5	.	NCEER.  PRELIMINARY REPORT FROM THE HYOGO-KEN NAMBU EARTHQUAKE OF JANUARY

17, 1995.  NCEER Bulletin, Vol. 9, No. 1, January 1995.  National Center for Earthquake

Engineering Research, Buffalo, NY, 1995.

6	.	Sakamoto, M., Indrawan, B. and Kobori, T., editor.  PRELIMINARY REPORT OF THE JANUARY 17,

1995 GREAT HANSHIN EARTHQUAKE.  Kobori Research Complex, Inc., Tokyo, Japan, March

1995.

7	.	EERI.  RECONNAISSANCE REPORT FROM HOKKAIDO-NANSEI-OKI.  EERI Newsletter, Special

Earthquake Report, August 1993.  Earthquake Engineering Research Institute, Oakland, CA, 1993.

8	.	Eder, S., Kincaid, R., Hardy, G. and Scawthorn, C.  REVIEW OF EQE EXPERIENCE DATA -

NONSTRUCTURAL ELEMENTS.  National Center for Earthquake Engineering Research, Buffalo,

NY, January 1992.

9	.	Swan, S.W., Flores, P.J. and Hooper, J.D.  THE MANZANILLO, MEXICO EARTHQUAKE OF

OCTOBER 9, 1995.  NCEER Bulletin, Vol. 10, No. 1, January 1996, pp. 1-11.  National Center for

Earthquake Engineering Research, Buffalo, NY, 1996.

10	.	Comartin, C.D., Greene, M. and Tubbesing, S.K., technical editors.  THE HYOGO-KEN NANBU

EARTHQUAKE, GREAT HANSHIN EARTHQUAKE DISASTER, JANUARY 17, 1995: Preliminary

Reconnaissance Report.  Earthquake Engineering Research Institute, Oakland, CA, 1995.

11	.	Rai, D.C., Narayan, J.P., Pankaj and Kumar, A.  JABALPUR EARTHQUAKE OF MAY 22, 1997.

Reconnaisance Report.  Dept. of Earthquake Engineering, University of Roorkee, Roorkee, India,

1997.

12	.	Arnold, C.  SMALL BUSINESS AND THE NORTHRIDGE EARTHQUAKE OF JANUARY 17, 1994.  A

Sample of Building Damage, Business Interruption and Recovery.  A Report Funded by the National

Science Foundation.  Building Systems Development, Inc., Palo Alto, CA, 1996.

13	.	Chung, R.M., Jason, H.H., Mohraz, B., Mowrer, F.W. and Walton, W.D.; editors.

POST-EARTHQUAKE FIRE AND LIFELINES WORKSHOP; LONG BEACH, CALIFORNIA JANUARY

30-31, 1995 PROCEEDINGS.  NIST Special Publication 889.  National Institute of Standards and

Technology, Gaithersburg, MD, August 1995.

14	.	Todd, D., Carino, N., Chung, R.M., Lew, H.S., Taylor, A.W., Walton, W.D., Cooper, J.D. and Nimis,

R.  1994 NORTHRIDGE EARTHQUAKE: Performance of Structures, Lifelines, and Fire Protection

Systems.  NIST Special Publication 862 (ICSSC TR14).  National Institute of Standards and

Technology, Gaithersburg, MD, May 1994.

15	.	Fleming, R.P.  ANALYSIS OF FIRE SPRINKLER SYSTEMS PERFORMANCE IN THE

NORTHRIDGE EARTHQUAKE.  NIST-GCR-98-736.  U.S. Department of Commerce, Building and

Fire Research Laboratory, National Institute of Standards and Technology, Gaithersburg, MD, 1998.

NIST Grant # 60NANB5D0132.

16	.	ATC-23, Part A.  GENERAL ACUTE CARE HOSPITAL EARTHQUAKE SURVIVABILITY INVENTORY FOR CALIFORNIA: Survey Description, Summary of Results, Data Analysis and Interpretation.  Applied Technology Council, Redwood City, CA, 1991.  Funded by Office of Statewide Health Planning and Development, State of California.

17	.	EERI.  THE 1976 TANGSHAN, CHINA EARTHQUAKE.  Papers Presented at the 2nd U.S. National

Conference on Earthquake Engineering Held at Stanford University, August 22-24, 1979.

Earthquake Engineering Research Institute, Berkeley, CA, March 1980.

18	.	Razani, R. and Lee, K.L.  THE ENGINEERING ASPECTS OF THE QIR EARTHQUAKE OF 10 APRIL

1972 IN SOUTHERN IRAN.  National Academy of Sciences for the National Academy of

Engineering, Washington, D.C., 1973.

19	.	EARTHQUAKE MEXICO '85.  Munich Reinsurance Company, Munich, Germany, 1986.

20	.	EQE.  THE JANUARY 17, 1995 KOBE EARTHQUAKE.  An EQE Summary Report.  EQE

International, San Francisco, CA, 1995.

21	.	A SUMMARY REPORT OF THE SURVEY ON THE KOBE EARTHQUAKE, 1995 (THE 1995

HYOGOKEN NANBU EARTHQUAKE).  English Edition.  Takenaka Corporation, Japan, January

1996.

22	.	JAPAN - THE GREAT HANSHIN EARTHQUAKE, January 17, 1995.  Event Report.  Risk

Management Solutions, Inc. and Failure Analysis Associates, Inc., Menlo Park, CA, 1995.

23	.	EQE.  THE DECEMBER 28, 1989 NEWCASTLE EARTHQUAKE.  EQE Engineering Inc., San

Francisco, CA, 1990.

24	.	EQE.  THE DECEMBER 7, 1988 ARMENIA, USSR EARTHQUAKE.  An EQE Summary Report.

EQE Engineering, San Francisco, CA, 1989.

25	.	EQE.  THE OCTOBER 17, 1989 LOMA PRIETA EARTHQUAKE.  EQE Engineering Inc., San

Francisco, CA, 1989.

26	.	Bertero, V. and Shah, H., coordinators; Leeds, A., editor.  EL-ASNAM, ALGERIA EARTHQUAKE,

OCTOBER 10, 1980.  A Reconnaissance and Engineering Report.  Earthquake Engineering

Research Institute, Berkeley, CA, January 1983.

27	.	Stratta, J.L., Escalante, L.E., Krinitzsky, E.L. and Morelli, U.  EARTHQUAKE IN

CAMPANIA-BASILICATA, ITALY, November 23, 1980.  A Reconnaissance Report.  National

Academy Press, Washington, D.C., 1981.

28	.	Lagorio, H.J. and Mader, G.G.  EARTHQUAKE IN CAMPANIA-BASILICATA, ITALY, NOVEMBER

23, 1980.  Architectural and Planning Aspects.  Earthquake Engineering Research Institute,

Berkeley, CA, July 1981.

29	.	Blume, J.A. and Stauduhar, M.H., editors.  THESSALONIKI, GREECE EARTHQUAKE, JUNE 20,

1978.  An Earthquake Enginerring Research Institute Reconnaissance Report.  Earthquake

Engineering Research Institute, Berkeley, CA, January 1979.

30	.	Nielsen, N.N., Furumoto, A.S., Lum, W. and  Morrill, B.J.  THE HONOMU, HAWAII, EARTHQUAKE.

National Academy of Sciences, Washington, D.C., 1977.

31	.	Meehan, J.F.  RESPONSE OF SEVERAL SCHOOL BUILDINGS TO THE MANAGUA, NICARAGUA,

DECEMBER 23, 1972 EARTHQUAKE.  Managua, Nicaragua Earthquake of December 23, 1972.

Earthquake Engineering Research Institute Conference Proceedings, Volume 1, pp. 404-419.

EERI, Oakland, CA, 1973.

32	.	EERI Investigative Team I.  SURVEY OF DAMAGES AND EARTHQUAKE PERFORMANCE OF

MANAGUA BUILDINGS.  Managua, Nicaragua Earthquake of December 23, 1972.  Earthquake

Engineering Research Institute Conference Proceedings, Volume 1, pp. 420-480.  EERI, Oakland,

CA, 1973.

33	.	McLean, R.S.  THREE REINFORCED CONCRETE FRAME BUILIDNGS, MANAGUA EARTHQUAKE,

DECEMBER 1972.  Managua, Nicaragua Earthquake of December 23, 1972.  Earthquake

Engineering Research Institute Conference Proceedings, Volume 1, pp. 481-528.  EERI, Oakland,

CA, 1973.

34	.	Klopfenstein, A. and Palk, B.V.  EFFECTS OF THE MANAGUA EARTHQUAKE ON THE

ELECTRICAL POWER SYSTEM.  Managua, Nicaragua Earthquake of December 23, 1972.

Earthquake Engineering Research Institute Conference Proceedings, Volume II, pp. 791-821.

EERI, Oakland, CA, 1973.

35	.	Cajina, A.  THE MANAGUA EARTHQUAKE AND ITS EFFECTS ON THE WATER SUPPLY SYSTEM.

Managua, Nicaragua Earthquake of December 23, 1972.  Earthquake Engineering Research

Institute Conference Proceedings, Volume II, pp. 768-790.  EERI, Oakland, CA, 1973.

36	.	Stevens, A.E., Editor.  MIRAMICHI, NEW BRUNSWICK, CANADA EARTHQUAKE SEQUENCE OF

1982.  A Preliminary Report.  Earthquake Engineering Research Institute, Berkeley, CA, March

1983.

37	.	Joint Reconnaissance Team of Architectural Institute of Japan, Japan Society of Civil Engineers,

and Bogazici University, Istanbul, Turkey.  DAMAGE REPORT ON 1992 ERZINCAN EARTHQUAKE,

TURKEY.  Architectural Institute of Japan, Tokyo, Japan, 1993.

38	.	THE CHALLENGE OF MINDORO.  Report of the Quick Response Investigation of the Mindoro Island

Earthquake in the Phlippines on 15 November 1994.  Research Report Series No. 11.  United

Nations Centre for Regional Development (UNCRD), Nagoya, Japan, March 1995.

39	.	Gulkan, P., Gurpinar, A., Celebi, M., Arpat, E. and Gencoglu, S.  ENGINEERING REPORT ON THE

MURADIYE-CALDIRAN, TURKEY, EARTHQUAKE OF 24 NOVEMBER 1976.  National Academy of

Sciences, Washington, D.C., 1978.

40	.	Booth, E.D., Pappin, J.W., Mills, J.H., Degg, M.R. and Steedman, R.S.  THE MEXICAN

EARTHQUAKE OF 19TH SEPTEMBER 1985.  A Field Report by EEFIT.  EEFIT, Cambridge,

England, September 1986.

41	.	Arnold, C., Eisner, R., Durkin, M. and Whitaker, D.  IMPERIAL COUNTY SERVICES BUILDING:

Occupant Behavior and Operational Consequences as a Result of the 1979 Imperial Valley

Earthquake.  Building Systems Development, Inc., San Mateo, CA, August 1982.

42	.	Walker, G.R.  REPORT ON NEWCASTLE EARTHQUAKE.  CSIRO, North Ryde, Australia, August

1990.

43	.	EEFIT.  THE LOMA PRIETA, USA, EARTHQUAKE OF 17 OCTOBER 1989.  A Field Report by

EEFIT.  EEFIT, London, UK, July 1993.

44	.	EQE Incorporated; Yanev, P.I., Vallenas, P., Williams, D. and Murray, R.C., Principal Investigators.

RECONNAISSANCE INVESTIGATION OF THE MARCH 2, 1987, NEW ZEALAND EARTHQUAKE.

Electric Power Research Institute, Palo Alto, CA, August 1988.

45	.	Ruscoe, Q.  WALKING ON JELLY.  The Bay of Plenty Earthquake 1987.  DSIR Publishing,

Wellington, New Zealand, 1988.

46	.	Tierney, K.J.  EMERGENCY MEDICAL CARE ASPECTS OF THE LOMA PRIETA EARTHQUAKE.

Preliminary Paper #161.  University of Delaware, Disaster Research Center, Newark, Delaware,

1991.

47	.	LAW ENFORCEMENT EMERGENCY OPERATIONS REPORT: LOMA PRIETA EARTHQUAKE.  Law

Enforcement Division, Governor's Office of Emergency Services, Sacramento, CA, May 1990.

48	.	O'Rourke, M.J. and Ballantyne, D.  OBSERVATIONS ON WATER SYSTEM AND PIPELINE

PERFORMANCE IN THE LIMON AREA OF COSTA RICA DUE TO THE APRIL 22, 1991

EARTHQUAKE.  Technical Report NCEER-92-0017.  National Center for Earthquake Engineering

Research, Buffalo, NY, June 1992.

49	.	Chung, R.M., editor.  THE MARCH 5, 1987, ECUADOR EARTHQUAKES: Mass Wasting and

Socioeconomic Effects.  Natural Disaster Studies, Volume Five.  National Academy Press,

Washington, D.C., 1991.

50	.	Pernica, G. and Maurenbrecher, A.H.P.  THE 1982 NEW BRUNSWICK EARTHQUAKES: SURVEY

OF BUILDING DAMAGE.  Division of Building Research, National Research Council of Canada,

Otaawa, July 1984.

51	.	THE MANAGUA EARTHQUAKE OF DECEMBER 23, 1972.  Two papers from a scientific conference

held in San Francisco, California in November 1973.  American Iron and Steel Institute,

Washington, D.C., 1974.